## Revision History
History: | Date/Made: | SAP Change number: | Note: | Note2
| 10.12.2015/Vesa Vanhatalo |  | First Draft
| 22.12.2015/Vesa Vanhatalo |  | Added 3AXD50000028233 R4 internal fan extension cable
| 31.12.2015/ Vesa Vanhatalo |  | Added Heating conductor TIM sheets 3AXD50000031377
| 19.01.2016/ Vesa Vanhatalo |  | 3AXD50000004398 ACH-AP-H set to "1"
ZINT-592 with rating 3AUA0000128978 changed to 3AXD50000030403
ZINT-571 with rating 3AUA0000122301 changed to 3AXD50000030359
Revisio A
| 03.03.2016/ Vesa Vanhatalo |  | Added 1.60.3 softwares 3AXD50000036655, 3AXD50000036657
Revision B
| 14.03.2016/ Vesa Vanhatalo |  | Added 1.70.3 softwares 3AXD5000003720 , 3AXD50000037210
Revision C
| 18.03.2016/Vesa Vanhatalo |  | Clamp capacitors 3AXD50000012429 (100nF/1600V) is used in 200...500V drives and 3AXD50000012428 (100nF/2000V) in 690V drives. Both types are replaced by type 3AXD50000012472 (100nF/2000V)
| 21.03.2016/Vesa Vanhatalo |  | 3A4 corrected to 3A3
| 24.03.2016/Vesa Vanhatalo |  | Added 3AXD50000002554 R9 ZINT support kit
| 08.04.2016/Vesa Vanhatalo |  | Removed 3AXD50000030357 ZINT-571 NON-RATED CCU-12 SP
Removed 3AXD50000030359 ZINT-571 WITH RATING CCU-12 SP
Added new code 3AXD50000037997 ZINT-571 NON-RATED CCU-24 SP
Added new code 3AXD50000037909 ZINT-571 WITH RATING CCU-24 SP
Removed 3AXD50000030402 ZINT-592 NON-RATED CCU-12 SP
Removed 3AXD50000030403 ZINT-592 WITH RATING CCU-12 SP
Added new code 3AXD50000037910 ZINT-592 NON-RATED CCU-24 SP
Added new code 3AXD50000037931 ZINT-592 WITH RATING CCU-24 SP
| 02.05.2016/Vesa Vanhatalo |  | Added 1.71.2 softwares 3AXD50000038697, 3AXD50000038698
| 23.05.2016/Vesa Vanhatalo |  | Added 3AUA0000101378 R6 ZINT SUPPORT ASSEMBLY
| 22.06.2016/Vesa Vanhatalo |  | Added Blind plate packed kits 3AXD50000028254,3AXD50000028273,3AXD50000028274,3AXD50000031397,3AXD50000031398,3AXD50000031399,3AXD50000031400
R7 balancing wire changed from 3AXD50000010256 to 3AXD50000032254
Added 3AXD50000023864 FBIP-21 kit (BACnet)
Revision D
| 18.07.2016/Vesa Vanhatalo |  | Added R5 IP55 cover 3AXD50000029593
| 04.08.2016/Vesa Vanhatalo |  | The size of wires corrected
| 08.08.2016/Vesa Vanhatalo |  | Added 1.74.1 softwares 3AXD50000042676, 3AXD50000042677
| 11.08.2016/Vesa Vanhatalo |  | Relese modification
IHMM Revision E
| 30.08.2016/Vesa Vanhatalo |  | Added 3AXD50000028233 R4 INNER FAN EXTENSION 3PIN
Added 3AXD50000040785 R0-R3 INNER FAN EXTENSION 2 PIN TO 3PIN
| 01.09.2016/Vesa Vanhatalo |  | Wire harness kit 3AXD50000010148 replaced with 3AXD50000039084
| 18.10.2016/Vesa Vanhatalo |  | Discharging resistor kits 3AUA0000119361,3AUA0000120029,3AUA0000120030 replaced with the new ones (including wires)
Added new softwares 3AXD50000045147 CCU-23+AHVK2 1.74.4.0+CONNECTOR, 3AXD50000045146 CCU-24+AHVK4 1.74.4.0 SP
| 09.11.2016/Vesa Vanhatalo |  | Added 3AXD50000004431 CHDI-01 PACKED KIT
| 18.11.2016/Vesa Vanhatalo |  | Added ACX580 R0-R2 INTERNAL FAN (-wire) 3AXD50000026754
IHMM Revision F 18.11.2016
| 24.11.2016/Vesa Vanhatalo |  | Added 3AXD50000028350 COVER KIT ACS580 R8 IP55 & 3AXD50000028356 COVER KIT ACS580 R9 IP55
| 15.12.2016/Vesa Vanhatalo |  | Added 3AXD50000044485 ACX580 R0-R2 INTERNAL FAN ASSEMBLY (with 3-pin connector for CCU-23)
| 19.12.2016/Vesa Vanhatalo |  | Added: IP21: R0-R1 front cover 3AUA0000082103 R2 front cover 3AUA0000079756 R3 front cover 3AUA0000081251 R4 Front Cover, IP21 3AXD50000005961 R5 Conduit Box 3AXD50000024844 IP55: R0-R1 IP55 front cover 3AXD50000017706 R2 R2 IP55 front cover 3AXD50000017707 R3 IP55 front cover 3AXD50000017708 R4 IP55 Front Cover Kit 3AXD50000019220 R6 IP55 Cover 3AXD50000021996 R7 IP55 Cover kit 3AXD5000002199
| 10.01.2017/Vesa Vanhatalo |  | Internal fan kit 3AXD50000034334 added also for R5 IP55
Added R0-R5 Flange mounting kits
3AXD50000026754 removed, Use kit code 3AXD50000044485
IHMM Revision G 10.01.2017
| 31.01.2017/Vesa Vanhatalo |  | Added 3AXD50000031225 R5 IP21 front cover
| 02.02.2017/Vesa Vanhatalo |  | Added R6 bottom cover (conduit box cover)
| 14.02.2017/Vesa Vanhatalo |  | Added: R0-R2 cable leadthrough kit 3AUA0000130211 + clamp accessory 3AUA0000130234 R3 cable leadthrough kit 3AUA0000129003 + clamp accessory 3AUA0000091506 R4 Cable Lead Through kit 3AXD50000017019 + Cable clamp kit R4 3AXD50000017018
R0-R2 IP55 cable leadthrough 3AXD50000017055 R3 IP55 cable leadthrough 3AXD50000012592 R4 Cable Lead Through kit 3AXD50000017019 + IP55 Cable Lead Through kit 3AXD50000019257 R5 IP55 Conduit box kit 3AXD50000012356
| 08.03.2017/Vesa Vanhatalo |  | Added ccu+sw codes 3AXD50000050117 CCU-23+AHVK2 2.01.0.2+CONNECTORS 3AXD50000050118 CCU-24+AHVK4 2.01.0.2 SP
| 21.04.2017/Vesa Vanhatalo |  | Added v2.01.0.4 software codes 3AXD50000111626 and 3AXD50000111633
| 19.07.2017/Marika Honka |  | Removed not released fieldbus kits 3AUA0000094518 NEXA-21 KIT, 3AUA0000094512 CONTROLNET FCNA-01 and modulus adapter kit 3AUA0000031336 FSCA-01
| 01.08.2017/Vesa Vanhatalo |  | Added sw codes CCU-23+AHVK2 2.03.0.2+CONNECTORS 3AXD50000140602 and CCU-24+AHVK4 2.03.0.4 SP 3AXD50000149889
| 09.08.2017/Vesa Vanhatalo |  | Added 3AXD50000150540 connector set for R1, R2
Added Timber types
Added 3AXD50000044679
IHMM Revision I 14.08.2017
| 17.08.2017/Vesa Vanhatalo |  | Added 3AXD50000029570 R3 timber main fan bracket
| 06.09.2017/Vesa Vanhatalo |  | Added new timber Main Fan kit codes R1-R3
Added Timber IP55 R3 cover 3AXD50000030497
Added Timber IP21 R3 cover 3AXD50000045541
Added fan brackets
| 20.09.2017/Vesa Vanhatalo |  | Added new sw codes 3AXD50000172801 CCU-23+AHVK2 2.04.0.0+CONNECTORS and 3AXD50000173310 CCU-24+AHVK4 2.04.0.0 SP
| 22.09.2017/Vesa Vanhatalo |  | Added 3AUA0000059481 R6/R7 LEADTHROUGH
IHMM Revision J 03.10.2017
| 27.11.2017/Vesa Vanhatalo |  | Added internal fan 3AXD50000026754 for New R1-R2 types,
| 04.12.2017/Vesa Vanhatalo |  | ACH-AP-W 3AXD50000030358 panel has been changed to ACH-AP-W PACKED KIT SP 3AXD50000202584
ACH-AP-H PACKED KIT 3AXD50000004398 has been changed to ACH-AP-H PACKED SP 3AXD50000192175
3AXD50000018771 CCU-24-H replaced with 3AXD50000183142 CCU-24-H PACKED
| 01.02.2018/Vesa Vanhatalo |  | Added CCU-23+ 2.04.0.4 and CCU-24+2.04.0.4 sw codes
IHMM Revision K 02.02.2018
| 28.02.2018/Vesa Vanhatalo |  | Added FRONT COVERS R1-R3 IP21 and IP55 for new types
Added cable clamps and conduit box for new types
| 02.03.2018/Vesa Vanhatalo |  | Added 3AXD50000137954 CBAI-01 option kit
CCU-23-H replaced with CCU-23T-H PACKED
| 27.03.2018/Vesa Vanhatalo |  | Added R1,R2, R3 Flange kits for Timber type drives
| 28.03.2018/Vesa Vanhatalo |  | Added Fan kits R6 3AUA0000118672, R7 3AUA0000100122, R8 3AUA0000097468, R9 3AXD50000025544
R6/R7 Fan code replaced 3AUA0000085511 -> 3AXD50000049368
R8/R9 Fan code replaced 3AUA0000077628 -> 3AXD50000049451
| 12.04.2018/Vesa Vanhatalo |  | Added new ccu+sw codes 3AXD50000254781 CCU-23T+AHVK2 2.05.0.0 SP and 3AXD50000254798 CCU-24+AHVK4 2.05.0.0 SP
| 18.04.2018/Vesa Vanhatalo |  | Added new R9 current transducer 3AXD50000050607, busbar 3AXD50000047829, wire harness 3AXD50000010152 and Current transducer sp kit 3AXD50000260164,
IHMM Revision K 26.04.2018
| 23.05.2018/Lila Heilmann |  | Added current transduser spare part kit for R8 3AXD50000273744
3AXD50000049728 Bus bar kit and 3AXD50000140374 Wire harness kit added
| 24.05.2018/Lila Heilmann |  | 3AXD50000010763 DPMP-EXT ASSEMBLY KIT added

## Config
ACH580-01 STANDARD DRIVE SPARE PART LIST
ACH580-01 SPARE PART LIST | Document ID: Revision: Date: | 3AXD10000464618 M 24.05.2018
| Author: Approver: | ESP300 | [5 empty] | ACH580-01-02A6-4 | ACH580-01-03A3-4 | ACH580-01-04A0-4 | ACH580-01-05A6-4 | ACH580-01-07A2-4 | ACH580-01-09A4-4 | ACH580-01-12A6-4 | ACH580-01-017A-4 | ACH580-01-025A-4 | ACH580-01-032A-4 | ACH580-01-038A-4 | ACH580-01-045A-4 | ACH580-01-02A7-4 | ACH580-01-03A4-4 | ACH580-01-04A1-4 | ACH580-01-05A7-4 | ACH580-01-07A3-4 | ACH580-01-09A5-4 | ACH580-01-12A7-4 | ACH580-01-018A-4 | ACH580-01-026A-4 | ACH580-01-033A-4 | ACH580-01-039A-4 | ACH580-01-046A-4 | ACH580-01-062A-4 | ACH580-01-073A-4 | ACH580-01-088A-4 | ACH580-01-106A-4 | ACH580-01-145A-4 | ACH580-01-169A-4 | ACH580-01-206A-4 | ACH580-01-246A-4 | ACH580-01-293A-4 | ACH580-01-363A-4 | ACH580-01-430A-4
Name | Technical data | Designation | CODE | Minimun recommendation | Normal recommendation | Maximum recommendation | Quantity | R0 | R0 | R0 | R0 | R1 | R1 | R1 | R2 | R2 | R3 | R3 | R3 | R1 | R1 | R1 | R1 | R1 | R1 | R1 | R2 | R2 | R3 | R3 | R3 | R4 | R4 | R5 | R5 | R6 | R7 | R7 | R8 | R8 | R9 | R9
Drive, Supply and Power Modules | B1
FREQUENCY CONVERTER | ACH580-01-02A6-4 |  | 3AUA0000080511 |  |  |  | 1 | 1
FREQUENCY CONVERTER | ACH580-01-03A3-4 |  | 3AUA0000080512 |  |  |  | 1 |  | 1
FREQUENCY CONVERTER | ACH580-01-04A0-4 |  | 3AUA0000080513 |  |  |  | 1 |  |  | 1
FREQUENCY CONVERTER | ACH580-01-05A6-4 |  | 3AUA0000080514 |  |  |  | 1 |  |  |  | 1
FREQUENCY CONVERTER | ACH580-01-07A2-4 |  | 3AUA0000080515 |  |  |  | 1 |  |  |  |  | 1
FREQUENCY CONVERTER | ACH580-01-09A4-4 |  | 3AUA0000080516 |  |  |  | 1 | [5 empty] | 1
FREQUENCY CONVERTER | ACH580-01-12A6-4 |  | 3AUA0000080517 |  |  |  | 1 | [6 empty] | 1
FREQUENCY CONVERTER | ACH580-01-017A-4 |  | 3AUA0000080518 |  |  |  | 1 | [7 empty] | 1
FREQUENCY CONVERTER | ACH580-01-025A-4 |  | 3AUA0000080519 |  |  |  | 1 | [8 empty] | 1
FREQUENCY CONVERTER | ACH580-01-032A-4 |  | 3AUA0000080520 |  |  |  | 1 | [9 empty] | 1
FREQUENCY CONVERTER | ACH580-01-038A-4 |  | 3AUA0000080521 |  |  |  | 1 | [10 empty] | 1
FREQUENCY CONVERTER | ACH580-01-045A-4 |  | 3AUA0000080522 |  |  |  | 1 | [11 empty] | 1
FREQUENCY CONVERTER | ACH580-01-062A-4 |  | 3AUA0000080523 |  |  |  | 1 | [24 empty] | 1
FREQUENCY CONVERTER | ACH580-01-073A-4 |  | 3AUA0000080524 |  |  |  | 1 | [25 empty] | 1
FREQUENCY CONVERTER | ACH580-01-088A-4 |  | 3AUA0000080527 |  |  |  | 1 | [26 empty] | 1
FREQUENCY CONVERTER | ACH580-01-106A-4 |  | 3AUA0000080528 |  |  |  | 1 | [27 empty] | 1
FREQUENCY CONVERTER | ACH580-01-145A-4 |  | 3AUA0000080529 |  |  |  | 1 | [28 empty] | 1
FREQUENCY CONVERTER | ACH580-01-169A-4 |  | 3AUA0000080530 |  |  |  | 1 | [29 empty] | 1
FREQUENCY CONVERTER | ACH580-01-206A-4 |  | 3AUA0000080531 |  |  |  | 1 | [30 empty] | 1
FREQUENCY CONVERTER | ACH580-01-246A-4 |  | 3AUA0000080532 |  |  |  | 1 | [31 empty] | 1
FREQUENCY CONVERTER | ACH580-01-293A-4 |  | 3AUA0000080533 |  |  |  | 1 | [32 empty] | 1
FREQUENCY CONVERTER | ACH580-01-363A-4 |  | 3AUA0000080534 |  |  |  | 1 | [33 empty] | 1
FREQUENCY CONVERTER | ACH580-01-430A-4 |  | 3AUA0000080535 |  |  |  | 1 | [34 empty] | 1
FREQUENCY CONVERTER | ACH580-01-02A6-4+B056 |  | 3AUA0000083586 |  |  |  | 1 | 1
FREQUENCY CONVERTER | ACH580-01-03A3-4+B056 |  | 3AUA0000083587 |  |  |  | 1 |  | 1
FREQUENCY CONVERTER | ACH580-01-04A0-4+B056 |  | 3AUA0000083588 |  |  |  | 1 |  |  | 1
FREQUENCY CONVERTER | ACH580-01-05A6-4+B056 |  | 3AUA0000083589 |  |  |  | 1 |  |  |  | 1
FREQUENCY CONVERTER | ACH580-01-07A2-4+B056 |  | 3AUA0000083590 |  |  |  | 1 |  |  |  |  | 1
FREQUENCY CONVERTER | ACH580-01-09A4-4+B056 |  | 3AUA0000083591 |  |  |  | 1 | [5 empty] | 1
FREQUENCY CONVERTER | ACH580-01-12A6-4+B056 |  | 3AUA0000083592 |  |  |  | 1 | [6 empty] | 1
FREQUENCY CONVERTER | ACH580-01-017A-4+B056 |  | 3AUA0000083593 |  |  |  | 1 | [7 empty] | 1
FREQUENCY CONVERTER | ACH580-01-025A-4+B056 |  | 3AUA0000083594 |  |  |  | 1 | [8 empty] | 1
FREQUENCY CONVERTER | ACH580-01-032A-4+B056 |  | 3AUA0000083595 |  |  |  | 1 | [9 empty] | 1
FREQUENCY CONVERTER | ACH580-01-038A-4+B056 |  | 3AUA0000083596 |  |  |  | 1 | [10 empty] | 1
FREQUENCY CONVERTER | ACH580-01-045A-4+B056 |  | 3AUA0000083597 |  |  |  | 1 | [11 empty] | 1
FREQUENCY CONVERTER | ACH580-01-062A-4+B056 |  | 3AUA0000083598 |  |  |  | 1 | [24 empty] | 1
FREQUENCY CONVERTER | ACH580-01-073A-4+B056 |  | 3AUA0000083599 |  |  |  | 1 | [25 empty] | 1
FREQUENCY CONVERTER | ACH580-01-088A-4+B056 |  | 3AUA0000083602 |  |  |  | 1 | [26 empty] | 1
FREQUENCY CONVERTER | ACH580-01-106A-4+B056 |  | 3AUA0000083603 |  |  |  | 1 | [27 empty] | 1
FREQUENCY CONVERTER | ACH580-01-145A-4+B056 |  | 3AUA0000083604 |  |  |  | 1 | [28 empty] | 1
FREQUENCY CONVERTER | ACH580-01-169A-4+B056 |  | 3AUA0000083605 |  |  |  | 1 | [29 empty] | 1
FREQUENCY CONVERTER | ACH580-01-206A-4+B056 |  | 3AUA0000083606 |  |  |  | 1 | [30 empty] | 1
FREQUENCY CONVERTER | ACH580-01-246A-4+B056 |  | 3AUA0000083607 |  |  |  | 1 | [31 empty] | 1
FREQUENCY CONVERTER | ACH580-01-293A-4+B056 |  | 3AUA0000083608 |  |  |  | 1 | [32 empty] | 1
FREQUENCY CONVERTER | ACH580-01-363A-4+B056 |  | 3AUA0000083609 |  |  |  | 1 | [33 empty] | 1
FREQUENCY CONVERTER | ACH580-01-430A-4+B056 |  | 3AUA0000083610 |  |  |  | 1 | [34 empty] | 1
Boards, Control Units, Power Supplies | A1
CONTROL UNIT | CCU-23T-H PACKED |  | 3AXD50000227112 | x | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT | CCU-24-H PACKED |  | 3AXD50000183142 | x | x | x | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONNECTOR | CONNECTOR USED WITH R0,R1,R2 |  | 3AXD50000010956 | x | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONNECTOR | CONNECTOR new USED WITH R1, R2 |  | 3AXD50000150540 | x | x | x | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONNECTOR | CONNECTOR USED WITH R3,R4,R5 |  | 3AXD50000010957 | x | x | x | 1 | [9 empty] | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-23+AHVK2 1.60.2+CONNECTORS |  | 3AXD50000033721 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 1.60.2 SP |  | 3AXD50000033722 |  |  |  | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-23+AHVK2 1.60.3+CONNECTORS |  | 3AXD50000036655 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 1.60.3 SP |  | 3AXD50000036657 |  |  |  | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-23+AHVK2 1.70.3+CONNECTORS |  | 3AXD5000003720 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 1.70.3 SP |  | 3AXD50000037210 |  |  |  | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-23+AHVK2 1.71.2+CONNECTORS |  | 3AXD50000038697 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 1.71.2 SP |  | 3AXD50000038698 |  |  |  | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-23+AHVK2 1.74.1+CONNECTORS |  | 3AXD50000042676 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 1.74.1 SP |  | 3AXD50000042677 |  |  |  | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-23+AHVK2 1.74.4+CONNECTORS |  | 3AXD50000045147 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 1.74.4 SP |  | 3AXD50000045146 |  |  |  | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-23+AHVK2 2.01.0.2+CONNECTORS |  | 3AXD50000050117 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 2.01.0.2 SP |  | 3AXD50000050118 |  |  |  | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-23+AHVK2 2.01.0.4+CONNECTORS |  | 3AXD50000111626 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 2.01.0.4 SP |  | 3AXD50000111633 |  |  |  | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-23+AHVK2 2.03.0.2+CONNECTORS |  | 3AXD50000140602 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 2.03.0.4 SP |  | 3AXD50000149889 |  |  |  | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-23+AHVK2 2.04.0.0+CONNECTORS |  | 3AXD50000172801 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 2.04.0.0 SP |  | 3AXD50000173310 |  |  |  | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-23+AHVK2 2.04.0.4 SP |  | 3AXD50000209347 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 2.04.0.4 SP |  | 3AXD50000209354 |  |  |  | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-23T+AHVK2 2.05.0.0 SP |  | 3AXD50000254781 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 2.05.0.0 SP |  | 3AXD50000254798 |  |  |  | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
I/O BOARD | CDFI-02 (board under control panel holder) |  | 3AUA0000102430 | x | x | x | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
MC INTERF. BOARD | ZINT-571 NON-RATED CCU-24 SP |  | 3AXD50000037997 |  | x | x | 1 | [28 empty] | 1 | 1 | 1
MC INTERF. BOARD | ZINT-571 WITH RATING CCU-24 SP |  | 3AXD50000037909 |  |  |  | 1 | [28 empty] | 1 | 1 | 1
MC INTERF. BOARD | ZINT-592 NON-RATED CCU-24 SP |  | 3AXD50000037910 |  | x | x | 1 | [31 empty] | 1 | 1 | 1 | 1
MC INTERF. BOARD | ZINT-592 WITH RATING CCU-24 SP |  | 3AXD50000037931 |  |  |  | 1 | [31 empty] | 1 | 1 | 1 | 1
Input bridge control and protection board | ZINP-571 |  | 3AUA0000050511 |  | x | x | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
POWER SUPPLY BOARD | ZPOW-591 |  | 3AUA0000075499 |  | x | x | 1 | [33 empty] | 1 | 1
C2 EMC board | ZFC2-571 |  | 3AUA0000061287 |  |  | x | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
Control Panels, Displays and Accessories | A2
HVAC PANEL | ACH-AP-H PACKED KIT |  | 3AXD50000192175 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL PANEL KIT | ACH-AP-W PACKED KIT SP |  | 3AXD50000202584 | x | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
ACX580 DUMMY PANEL WITH LED INDICATORS | CDUM-01 PACKED KIT |  | 3AXD50000009843 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
DPMP-01 CONTROL PANEL KIT | DPMP-01 FLUSH MOUNTED IP55 FOR ACS-AP |  | 3AUA0000108878 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
DPMP-02 CONTROL PANEL KIT | DPMP-02 FLUSH MOUNTED IP65 FOR ACX-AP |  | 3AXD50000009374 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
DPMP-EXT | ASSEMBLY KIT |  | 3AXD50000010763 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
PANEL BUS ADAPTER | CDPI-01 Branching unit | A44 | 3AXD50000004419 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Interface Option (Fieldbus, I/O etc.) | A3
EXTERNAL 24 V AND DiIGITAL I/O EXTENSION | CMOD-01 | L501 | 3AXD50000004420 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
EXTERNAL 24 V AND PTC INTERFACE | CMOD-02 | L523 | 3AXD50000004418 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
115/230V DIGITAL INPUT | CHDI-01 | L512 | 3AXD50000004431 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
OPTION KIT | CBAI-01 PACKED KIT |  | 3AXD50000137954 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
PROFIBUS-DP FPBA-01 OPTION/SP KIT | FPBA-01 | K454 | 68469325 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
FIELDBUS KIT ETHERNET FENA-11 | FENA-11 | K473 | 3AUA0000089107 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
CANOPEN FCAN-01 OPTION/SP KIT | FCAN-01 | K457 | 68469376 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
DEVICENET FDNA-01 OPTION/SP KIT | FDNA-01 | K451 | 68469341 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
EtherCAT ADAPTER KIT | FECA-01 | K469 | 3AUA0000072069 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Ethernet POWERLINK | FEPL-02 FIELDBUS KIT | K470 | 3AUA0000072120 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
HIGH PERFORMANCE 2-PORT ETHERNET (EtherNet/IP, Modbus/TCP, PROFINET) | FENA-21 | K474 | 3AUA0000089109 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
FIELDBUS KIT | FBIP-21 kit (BACnet) | K465 | 3AXD50000023864 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
REMOTE MONITORING KIT | NETA-21 KIT |  | 3AUA0000094517 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Filters, Reactors, Coils, Chokes | C1
DC CHOKE ACS880 R6 | ZCHO-561 MINUS 190A 500V | L21 | 3AUA0000076524 |  |  |  | 1 | [28 empty] | 1
DC CHOKE ACS880 R6 | ZCHO-562 PLUS | L22 | 3AUA0000078106 |  |  |  | 1 | [28 empty] | 1
DC CHOKE ACS880 R7 | ZCHO-571 MINUS 295A 500V | L21 | 3AUA0000076525 |  |  |  | 1 | [29 empty] | 1 | 1
DC CHOKE ACS880 R7 | ZCHO-572 PLUS | L22 | 3AUA0000078040 |  |  |  | 1 | [29 empty] | 1 | 1
DC CHOKE ACS880 R8 | ZCHO-581 MINUS | L21 | 3AUA0000076566 |  |  |  | 1 | [31 empty] | 1 | 1
DC CHOKE ACS880 R8 | ZCHO-582 PLUS | L22 | 3AUA0000078290 |  |  |  | 1 | [31 empty] | 1 | 1
DC CHOKE ACS880 R9 | ZCHO-592 PLUS (RIGHT) | L21 | 3AUA0000078228 |  |  |  | 1 | [33 empty] | 1 | 1
DC CHOKE ACS880 R9 | ZCHO-591 MINUS (LEFT) | L22 | 3AUA0000076567 |  |  |  | 1 | [33 empty] | 1 | 1
COMM. MODE CHOKE ACS880 | T60006-L2063-W517 |  | 3AUA0000087654 |  |  |  | 3 | [28 empty] | 3 | 3 | 3
COMM. MODE CHOKE ACS880 | T60006-L2063-W517 |  | 3AUA0000087654 |  |  |  | 4 | [31 empty] | 4 | 4 | 4 | 4
Transformers, Transducers (Voltage, Current) | C2
CURRENT TRANSDUCER | HASS 200 OPEN LOOP |  | 3AUA0000082144 |  |  | x | 3 | [28 empty] | 3 | 3 | 3
CURRENT TRANSDUCE HASS 400 OPEN LOOP | IN 400A OPEN LOOP |  | 3AUA0000082145 |  |  | x | 3 | [31 empty] | 3 | 3
CURRENT TRANSDUCER BOARD | ADAPTER BOARD ZCUR-791 |  | 3AUA0000071032 |  |  | x | 3 | [33 empty] | 3 | 3
CURRENT TRANSDUCER | 500A OPEN LOOP CURRENT TRANSDUCER |  | 3AXD50000050607 |  |  | x | 3 | [33 empty] | 3 | 3
CURRENT TRANSDUCER KIT | R8 2/4/500V CURRENT TRANSDUCER SP KIT |  | 3AXD50000273744 |  |  |  | 1 | [31 empty] | 1 | 1
SPAREPART KIT | R9 CURRENT TRANSDUCER SP KIT |  | 3AXD50000260164 |  |  |  | 1 | [33 empty] | 1 | 1
Power Semiconductors (IGBTs etc.) | D1
IGBT MODULE ACS880 R6 SP KIT | IGBT KIT R6 EP4 200A1200V/ZGAD-561 |  | 3AUA0000119290 |  | x | x | 1 | [28 empty] | 1
IGBT MODULE ACS880 R7 SP KIT | IGBT KIT R7 ED3 300A1200V/ZGAD-572 |  | 3AUA0000119901 |  | x | x | 1 | [29 empty] | 1 | 1
IGBT MODULE ACS880 R8 SP KIT | IGBT KIT R8 ED3 450A1200V/ZGAD-581 |  | 3AUA0000119991 |  | x | x | 1 | [31 empty] | 1 | 1
IGBT MODULE ACS880 R9 SP KIT | IGBT KIT R9 ED3 600A1200V/ZGAD-591 |  | 3AUA0000120601 |  | x | x | 1 | [33 empty] | 1 | 1
THYRISTOR/DIODE MODULE | R6 SINGLE MODULE SP KIT | V11-V13 | 3AXD50000027300 |  | x | x | 1 | [28 empty] | 1
THYRISTOR/DIODE MODULE | R7 SINGLE MODULE SP KIT | V11-V13 | 3AXD50000027341 |  | x | x | 1 | [29 empty] | 1 | 1
THYRISTOR/DIODE MODULE | R8 SINGLE MODULE SP KIT | V11-V13 | 3AXD50000027342 |  | x | x | 1 | [31 empty] | 1 | 1
THYRISTOR/DIODE MODULE | R9 SINGLE MODULE SP KIT | V11-V13 | 3AXD50000027343 |  | x | x | 1 | [33 empty] | 1 | 1
THYR./DIODE MODUL ACS880 R6 INPUT SP KIT | MCD 162-16 io1 |  | 3AUA0000119359 |  | x | x | 1 | [28 empty] | 1
THYR./DIODE MODUL ACS880 R7 INPUT SP KIT | THYR./DIODE MODUL 1600V 34MM 200A |  | 3AUA0000119822 |  | x | x | 1 | [29 empty] | 1 | 1
THYR./DIODE MODUL ACS880 R8 INPUT SP KIT | THYR./DIODE MODUL 1600V 34MM 260A |  | 3AUA0000120002 |  | x | x | 1 | [31 empty] | 1 | 1
THYR./DIODE MODUL ACS880 R9 INPUT SP KIT | THYR./DIODE MODUL 1600V 50MM 300A |  | 3AUA0000120622 |  | x | x | 1 | [33 empty] | 1 | 1
HEATING CONDUCTOR | ECONODUAL3 TIM GRAPHITE SP |  | 3AXD50000031377 |  | x | x | 3 | [29 empty] | 3 | 3 | 3 | 3 | 3 | 3
Fans, Air Filters and Accessories | E4
PLASTIC HOUSING | INTERNAL FAN SLEDGE |  | 3AUA0000107885 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
RIVET | FR-1 (for internal fan sledge and fan) |  | 3AXD50000010042 |  |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
FAN, AXIAL | ACX580 R0-R2 INTERNAL FAN (3-pin) |  | 3AXD50000026754 |  |  |  | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
FAN ASSEMBLY | ACX580 R0-R2 INTERNAL FAN ASSY (3-pin)) |  | 3AXD50000044485 | x | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Internal Fan | ACX580 | IP55 | 3AUA0000088115 | x | x | x | 1 | [9 empty] | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1
PLASTIC HOUSING | INNER FAN |  | 3AXD50000011520 |  |  |  | 1 | [9 empty] | 1 | 1 | 1
FAN ASSEMBLY | ACX580 R3 INTERNAL FAN KIT |  | 3AXD50000024578 | x | x | x | 1 | [9 empty] | 1 | 1 | 1
FAN ASSEMBLY | ACX580-01 R4 INTERNAL FAN ASSY (also R5) | IP55 | 3AXD50000034334 | x | x | x | 1 | [24 empty] | 1 | 1 | 1 | 1
Internal Fan | NMB 2410ML-05W-B69-EQ3 |  | 3AUA0000083491 | x | x | x | 1 | [28 empty] | 1
Additional internal IP55 fan R8&R9 | NMB 2410ML-05W-B79-EQ2 IP54 | IP55 | 3AXD50000003619 | x | x | x | 1 | [31 empty] | 1 | 1 | 1 | 1
FAN, AXIAL | R4 MAIN FAN |  | 3AXD50000014832 |  |  |  | 1 | [24 empty] | 1 | 1
FAN, AXIAL | ACX580 R5 MAIN FAN with connector |  | 3AXD50000020280 |  |  |  | 1 | [26 empty] | 1 | 1
FAN ASSEMBLY | ACx580 R0 main fan assembly |  | 3AXD50000024482 | x | x | x | 1 | 1 | 1 | 1 | 1
FAN ASSEMBLY | ACx580 R1 main fan assembly |  | 3AXD50000024484 | x | x | x | 1 |  |  |  |  | 1 | 1 | 1
FAN ASSEMBLY | ACx580 R2 main fan assembly |  | 3AXD50000024485 | x | x | x | 1 | [7 empty] | 1 | 1
FAN ASSEMBLY | ACx580 R3 main fan assembly |  | 3AXD50000024486 | x | x | x | 1 | [9 empty] | 1 | 1 | 1
FAN CONNCTOR BRACKET | Fan connector holder R0-R3 |  | 3AXD50000016565 | x | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
FAN KIT | ACX580-01 R1 FAN ASSEMBLY TOP | Timber | 3AXD50000139439 | x | x | x | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
FAN KIT | ACX580-01 R2 FAN ASSEMBLY TOP | Timber | 3AXD50000139446 | x | x | x | 1 | [19 empty] | 1 | 1
FAN KIT | ACX580-01 R2 FAN ASSEMBLY TOP | Timber | 3AXD50000139453 | x | x | x | 1 | [21 empty] | 1 | 1 | 1
BRACKET, PLASTIC | FAN CONNECTOR MOUNT 120MM |  | 3AXD50000017129 | x | x | x | 1 | [24 empty] | 1 | 1
FAN ASSEMBLY | R4 MAIN FAN SPARE KIT |  | 3AXD50000030081 | x | x | x | 1 | [24 empty] | 1 | 1
FAN ASSEMBLY | R5 MAIN FAN SPARE KIT |  | 3AXD50000030082 | x | x | x | 1 | [26 empty] | 1 | 1
FAN, AXIAL | FAN ACS880 R6/R7 IP55 |  | 3AXD50000049368 | x | x | x | 1 | [28 empty] | 1 | 1 | 1
FAN, AXIAL | FAN ACS880 R8/R9 IP55 |  | 3AXD50000049451 | x | x | x | 1 | [31 empty] | 1 | 1
FAN, AXIAL | FAN ACS880 R8/R9 IP55 |  | 3AXD50000049451 | x | x | x | 2 | [33 empty] | 2 | 2
FAN KIT ACS880 R6 | R6 FAN KIT |  | 3AUA0000118672 | x | x | x | 1 | [28 empty] | 1
FAN KIT | R7 FAN ASSEMBLY |  | 3AUA0000097468 | x | x | x | 1 | [29 empty] | 1 | 1
FAN KIT | R8 FAN ASSEMBLY KIT |  | 3AUA0000100122 | x | x | x | 1 | [31 empty] | 1 | 1
FAN KIT | R9 MAIN FANS KIT |  | 3AXD50000025544 | x | x | x | 1 | [33 empty] | 1 | 1
GRILL, PLASTIC | Fan retainer for R0 |  | 3AUA0000079740 |  | x | x | 1 | 1 | 1 | 1 | 1
GRILL, PLASTIC | Fan retainer for R1-R2 |  | 3AUA0000128683 |  | x | x | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1
GRILL, PLASTIC | Fan retainer for R3 |  | 3AUA0000079933 |  | x | x | 1 | [9 empty] | 1 | 1 | 1
GRILL, PLASTIC | Fan retainer for R5 |  | 3AUA0000125293 |  | x | x | 1
GRILL, PLASTIC | FAN GRILL (R4) |  | 3AXD50000005924 |  | x | x | 1 | [24 empty] | 1 | 1
BRACKET, PLASTIC | 150 FAN BRACKET (R5v2) |  | 3AXD50000013943 |  | x | x | 1 | [26 empty] | 1 | 1
BRACKET, PLASTIC | R1 FAN RETAINER | Timber | 3AXD50000036285 |  | x | x | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
BRACKET, PLASTIC | R2 FAN RETAINER | Timber | 3AXD50000037383 |  | x | x | 1 | [19 empty] | 1 | 1
BRACKET, PLASTIC | R3 MAIN FAN BRACKET |  | 3AXD50000029570 |  | x | x | 1 | [21 empty] | 1 | 1 | 1
Resistors | E5
CHARGING RESISTOR | CAV ACS880 R6-R7 |  | 3AUA0000122080 |  | x | x | 1 | [28 empty] | 1 | 1 | 1
CHARGING RESISTOR | CAV ACS880 R8-R9 |  | 3AUA0000120015 |  | x | x | 1 | [31 empty] | 1 | 1 | 1 | 1
DISCHARGING RESISTOR | ACXX80 R6 400V DISCHARGING RESISTOR KIT |  | 3AXD50000042698 |  | x | x | 1 | [28 empty] | 1
DISCHARGING RESISTOR | ACXX80 R7 400V DISCHARGING RESISTOR KIT |  | 3AXD50000042744 |  | x | x | 1 | [29 empty] | 1 | 1
DISCHARGING RESISTOR | ACXX80 R8 400V DISCHARGING RESISTOR KIT |  | 3AXD50000042747 |  | x | x | 1 | [31 empty] | 1 | 1
DISCHARGING RESISTOR | ACXX80 R9 400V DISCHARGING RESISTOR KIT |  | 3AXD50000042750 |  | x | x | 1 | [33 empty] | 1 | 1
Capacitors | E6
CAPACITOR SNUBBER/CLAMP CAP | ACS880 R6 SP KIT 1UF 1000V + PAD (tape) |  | 3AUA0000119362 |  | x | x | 1 | [28 empty] | 1
CAPACITOR SNUBBER/CLAMP CAP | ACS880 R7-R9 SP KIT 1UF 1000V + PAD (tape) |  | 3AUA0000119846 |  | x | x | 1 | [29 empty] | 1 | 1 | 1 | 1 | 1 | 1
SNUBBER CAPACITOR | 2000 V;0,10;0.1UF 2000V FILM CAPACITOR |  | 3AXD50000012472 |  | x | x | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
CAPACITOR 2 PCS DC CAP SP KIT | B43456-S9178-A502 + housing+gasket R6 |  | 3AUA0000119360 |  |  | x | 3 | [28 empty] | 3
CAPACITOR 2 PCS DC CAP SP KIT | capacitors + housing + gasket R7 |  | 3AUA0000119884 |  |  | x | 3 | [29 empty] | 3 | 3
CAPACITOR 2 PCS DC CAP SP KIT | capacitors + housing + gasket R8 |  | 3AUA0000120014 |  |  | x | 3 | [31 empty] | 3 | 3
CAPACITOR 2 PCS DC CAP SP KIT | capacitors + housing + gasket R9 |  | 3AUA0000120600 |  |  | x | 3 | [33 empty] | 3 | 3
Sensors (Temperature, Pressure etc.) | F2
MEASURING INSTR ACS880 R6-R7 | R6-R7 AMBIENT THERMOSENSOR |  | 3AUA0000096780 |  | x | x | 1 | [28 empty] | 1 | 1 | 1
MEASURING INSTR ACS880 R8/R9 | R8-R9 AMBIENT THERMOSENSOR |  | 3AUA0000096961 |  | x | x | 1 | [31 empty] | 1 | 1 | 1 | 1
Mechanics (Busbars, Isolators etc.) | M1
BUS BAR ACS880 R6 | T1/T2/T3 |  | 3AUA0000068492 |  |  | x | 1 | [28 empty] | 1
BUS BAR ACS880 R6 | R- |  | 3AUA0000068397 |  |  | x | 1 | [28 empty] | 1
BUS BAR ACS880 R6 | T1/U |  | 3AUA0000068395 |  |  | x | 1 | [28 empty] | 1
BUS BAR ACS880 R6 | T2/V |  | 3AUA0000068393 |  |  | x | 1 | [28 empty] | 1
BUS BAR ACS880 R6 | T3/W |  | 3AUA0000068305 |  |  | x | 1 | [28 empty] | 1
BUS BAR ACS880 R6 | DC- BRIDGE |  | 3AUA0000059050 |  |  | x | 1 | [28 empty] | 1
BUS BAR ACS880 R6 | DC+ BRIDGE WITH CAPACITOR fixing |  | 3AXD50000012095 |  |  | x | 1 | [28 empty] | 1
BUS BAR KIT | R6 INPUT BRIDGE DC BUSBARS KIT |  | 3AXD50000028699 |  |  | x | 1 | [28 empty] | 1
BUS BAR KIT | ACXX80 R7 BRIDGE BUSBAR KIT |  | 3AXD50000013272 |  |  | x | 1 | [29 empty] | 1 | 1
BUS BAR ACS880 R7 | L1/L2/L3 BRIDGE |  | 3AUA0000059048 |  |  | x | 1 | [29 empty] | 1 | 1
BUS BAR ACS880 R7 | T1/U |  | 3AUA0000059036 |  |  | x | 1 | [29 empty] | 1 | 1
BUS BAR ACS880 R7 | T2/V |  | 3AUA0000059035 |  |  | x | 1 | [29 empty] | 1 | 1
BUS BAR, CU | T3/W (frame R7) |  | 3AXD50000021360 |  |  | x | 1 | [29 empty] | 1 | 1
INSULATION SUPPORT | INS. PILLAR TPI/9,5/54/M4 RM (54mm) |  | 57938013 |  |  | x | 1 | [29 empty] | 1 | 1
BUS BAR ACS880 R7 | T1/T2/T3 |  | 3AUA0000059062 |  |  | x | 1 | [29 empty] | 1 | 1
BUS BAR ACS880 R7 | UDC+ |  | 3AUA0000059061 |  |  | x | 1 | [29 empty] | 1 | 1
BUS BAR ACS880 R7 | UDC- |  | 3AUA0000059060 |  |  | x | 1 | [29 empty] | 1 | 1
BUS BAR ACS880 R6 | S6 500V CAPACITOR BUSBAR ASSY |  | 3AUA0000101218 |  |  | x | 1 | [28 empty] | 1
BUS BAR ACS880 R7 | R7 500V CAPACITOR BUSBAR ASSEMBLY |  | 3AUA0000097371 |  |  | x | 1 | [29 empty] | 1 | 1
BUS BAR KIT | CAPACITOR BUSBAR ASSY KIT R8 |  | 3AXD50000022042 |  |  | x | 1 | [31 empty] | 1 | 1
BUS BAR ACS880 R9 | R9 DC-BUS BAR KIT |  | 3AUA0000081280 |  |  | x | 1 | [33 empty] | 1 | 1
BUS BAR ACS880 R8 | R8 INPUT DC BUSBARS CAPACITOR |  | 3AXD50000014788 |  |  | x | 1 | [31 empty] | 1 | 1
BUS BAR ACS880 R8 | OUTPUT BUSBAR ASSEMBLY KIT | old | 3AUA0000100469 |  |  | x | 1 | [31 empty] | 1 | 1
BUS BAR KIT | OUTPUT BUS BAR ASSEMBLY KIT | new | 3AXD50000049728 |  |  | x | 1 | [31 empty] | 1 | 1
BUS BAR ACS880 R9 | T1/T2/T3 |  | 3AUA0000068144 |  |  | x | 1 | [31 empty] | 1 | 1 | 1 | 1
BUS BAR ACS880 R8 | L3 BRIDGE |  | 3AUA0000070166 |  |  | x | 1 | [31 empty] | 1 | 1
BUS BAR ACS880 R8 | L2 BRIDGE |  | 3AUA0000070149 |  |  | x | 1 | [31 empty] | 1 | 1
BUS BAR ACS880 R8 | L1 BRIDGE |  | 3AUA0000070163 |  |  | x | 1 | [31 empty] | 1 | 1
BUS BAR ACS880 R9 | R9 OUTPUT BUSBAR KIT | old | 3AUA0000081279 |  |  | x | 1 | [33 empty] | 1 | 1
BUS BAR KIT | R9 OUTPUT BUS BAR KIT | new from 1181407016 | 3AXD50000047829 |  |  | x | 1 | [33 empty] | 1 | 1
BUS BAR ACS880 R9 | R9 INPUT DC BUSBAR KIT AND SPACER |  | 3AXD50000010452 |  |  | x | 1 | [33 empty] | 1 | 1
L1 BRIDGE |  |  | 3AUA0000074692 |  |  | x | 1 | [33 empty] | 1 | 1
L2 BRIDGE |  |  | 3AUA0000074691 |  |  | x | 1 | [33 empty] | 1 | 1
L3 BRIDGE |  |  | 3AUA0000074690 |  |  | x | 1 | [33 empty] | 1 | 1
SUPPORT KIT | R6-R7 ZINP SUPPORT |  | 3AUA0000121456 |  |  |  | 1 | [28 empty] | 1 | 1 | 1
SUPPORT KIT | R6 ZINT SUPPORT ASSEMBLY |  | 3AUA0000101378 |  |  |  | 1 | [28 empty] | 1
ASSEMBLY KIT | R9 ZINT SUPPORT KIT |  | 3AXD50000002554 |  |  |  | 1 | [33 empty] | 1 | 1
CONNECTOR OL 25-150 AND OL 25-95 |  |  | 3AUA0000119749 | x | x | x | 1 | [28 empty] | 1
CONNECTOR OL 95-240 AND 25-150 |  |  | 3AUA0000119892 | x | x | x | 1 | [29 empty] | 1 | 1
CONNECTOR OL 2*50-150 |  |  | 3AUA0000121858 | x | x | x | 1 | [31 empty] | 1 | 1
CONNECTOR OL 2x95-240 |  |  | 3AUA0000121835 | x | x | x | 1 | [33 empty] | 1 | 1
ASSEMBLY KIT | R6 CONNECTOR HOUSING |  | 3AXD50000002766 |  |  | x | 1 | [28 empty] | 1
ASSEMBLY KIT | R7 CONNECTOR HOUSING |  | 3AXD50000002786 |  |  | x | 1 | [29 empty] | 1 | 1
ASSEMBLY KIT, PLASTIC | R8 CONNECTOR HOUSING KIT |  | 3AXD50000009216 |  |  | x | 1 | [31 empty] | 1 | 1
ASSEMBLY KIT, PLASTIC | R9 CONNECTOR HOUSING KIT |  | 3AXD50000009295 |  |  | x | 1 | [33 empty] | 1 | 1
ASSEMBLY KIT | CABLE LEADTHROUGH KIT | IP21 | 3AUA0000130211 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
ASSEMBLY KIT | CLAMP ACCESSORY | IP21 | 3AUA0000130234 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
ASSEMBLY KIT | CABLE LEADTHROUGH KIT | IP21 | 3AUA0000129003 |  |  |  | 1 | [9 empty] | 1 | 1 | 1
SUB-ASSEMBLY | CABLE CLAMP KIT R3 | IP21 | 3AUA0000091506 |  |  |  | 1 | [9 empty] | 1 | 1 | 1
ASSEMBLY KIT | CABLE LEADTHROUGH KIT | IP21 | 3AXD50000017019 |  |  |  | 1 | [24 empty] | 1 | 1
SUB-ASSEMBLY | CABLE CLAMP KIT R4 | IP21 | 3AXD50000017018 |  |  |  | 1 | [24 empty] | 1 | 1
ASSEMBLY KIT | R1-R2 CONDUIT BOX ACCESSORY KIT | IP21 | 3AXD50000046258 |  |  |  | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONDUIT BOX, KIT | R1-R2 IP55 CONDUIT BOX KIT | IP55 | 3AXD50000040989 |  |  |  | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
ASSEMBLY KIT | R3 CONDUIT ASSEMBLY KIT | IP21 | 3AXD50000030336 |  |  |  | 1 | [21 empty] | 1 | 1 | 1
ASSEMBLY KIT | R3 IP55 CONDUIT ASSEMBLY KIT | IP55 | 3AXD50000030428 |  |  |  | 1 | [21 empty] | 1 | 1 | 1
CONDUIT BOX, KIT | R5 IP21 CONDUIT BOX | IP21 | 3AXD50000024844 |  |  |  | 1 | [26 empty] | 1 | 1
CONDUIT BOX ACS580 R6 | R6 CONDUIT BOX KIT | IP21 | 3AXD50000022336 |  |  |  | 1 | [28 empty] | 1
CONDUIT BOX ACS580 R7 | R7 CONDUIT BOX KIT | IP21 | 3AXD50000022320 |  |  |  | 1 | [29 empty] | 1 | 1
CONDUIT BOX ACS580 R8 | R8 CONDUIT BOX KIT | IP21 | 3AXD50000007731 |  |  |  | 1 | [31 empty] | 1 | 1
CONDUIT BOX ACS580 R9 | R9 CONDUIT BOX KIT | IP21 | 3AXD50000008437 |  |  |  | 1 | [33 empty] | 1 | 1
ASSEMBLY KIT | R0-R2 IP55 CABLE LEADTHROUGH | IP55 | 3AXD50000017055 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
ASSEMBLY KIT | R3 IP55 CABLE LEADTHROUGH | IP55 | 3AXD50000012592 |  |  |  | 1 | [9 empty] | 1 | 1 | 1
ASSEMBLY KIT | CABLE LEADTHROUGH KIT | IP55 | 3AXD50000017019 |  |  |  | 1 | [9 empty] | 1 | 1 | 1
ASSEMBLY KIT | IP55 CABLE LEADTHROUGH KIT | IP55 | 3AXD50000019257 |  |  |  | 1 | [24 empty] | 1 | 1
CONDUIT BOX, KIT | R5 IP55 CONDUIT BOX ASSEMBLY KIT | IP55 | 3AXD50000012356 |  |  |  | 1 | [26 empty] | 1 | 1
ASSEMBLY KIT, PLASTIC | CONDUIT BOX ACX580 IP55 R6 KIT | IP55 | 3AXD50000022337 |  |  |  | 1 | [28 empty] | 1
ASSEMBLY KIT, PLASTIC | CONDUIT BOX ACX580 IP55 R7 KIT | IP55 | 3AXD50000022331 |  |  |  | 1 | [29 empty] | 1 | 1
ASSEMBLY KIT, PLASTIC | CONDUIT BOX ACX580 IP55 R8 KIT | IP55 | 3AXD50000012785 |  |  |  | 1 | [31 empty] | 1 | 1
ASSEMBLY KIT, PLASTIC | CONDUIT BOX ACX580 IP55 R9 KIT | IP55 | 3AXD50000012786 |  |  |  | 1 | [33 empty] | 1 | 1
COVER, PLASTIC | R1 IP21 FRONT COVER, PLASTIC | IP21 | 3AUA0000082103 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
COVER, PLASTIC | R2 IP21 FRONT COVER, PLASTIC | IP21 | 3AUA0000079756 |  |  |  | 1 | [7 empty] | 1 | 1
COVER, PLASTIC | R3 IP21 FRONT COVER, PLASTIC | IP21 | 3AUA0000081251 |  |  |  | 1 | [9 empty] | 1 | 1 | 1
COVER, PLASTIC | IP21 COVER | IP21 | 3AXD50000045541 |  |  |  | 1 | [21 empty] | 1 | 1 | 1
PLASTIC HOUSING | FRONT COVER, IP21 R4 | IP21 | 3AXD50000005961 |  |  |  | 1 | [24 empty] | 1 | 1
COVER, PLASTIC | R5 IP21 FRONT COVER | IP21 | 3AXD50000031225 |  |  |  | 1 | [26 empty] | 1 | 1
COVER, PLASTIC | R6 BOTTOM COVER | IP21 | 3AXD50000020214 |  |  |  | 1 | [28 empty] | 1
COVER, PLASTIC | R6 TOP FRONT COVER | IP21 | 3AXD50000020244 |  |  |  | 1 | [28 empty] | 1
COVER KIT | R0-R1 IP55 FRONT COVER | IP55 | 3AXD50000017706 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
COVER KIT | R2 IP55 FRONT COVER | IP55 | 3AXD50000017707 |  |  |  | 1 | [7 empty] | 1 | 1
COVER KIT | R3 IP55 FRONT COVER | IP55 | 3AXD50000017708 |  |  |  | 1 | [9 empty] | 1 | 1 | 1
COVER, PLASTIC | R1 IP21 FRONT COVER | IP21 | 3AXD50000043582 |  |  |  | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
COVER, PLASTIC | R1 IP55 FRONT COVER | IP55 | 3AXD50000038878 |  |  |  | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
COVER, PLASTIC | R2 IP21 FRONT COVER | IP21 | 3AXD50000043503 |  |  |  | 1 | [19 empty] | 1 | 1
COVER KIT | R2 IP55 FRONT COVER | IP55 | 3AXD50000038879 |  |  |  | 1 | [19 empty] | 1 | 1
COVER, PLASTIC | IP21 COVER | IP21 | 3AXD50000045541 |  |  |  | 1 | [21 empty] | 1 | 1 | 1
ASSEMBLY KIT | R3 IP55 COVER ASSEMBLY KIT | IP55 | 3AXD50000030497 |  |  |  | 1 | [21 empty] | 1 | 1 | 1
ASSEMBLY KIT | ACX5X0 R4 IP55 FRONT COVER KIT | IP55 | 3AXD50000019220 |  |  |  | 1 | [24 empty] | 1 | 1
COVER KIT | IP55 COVER KIT R5 | IP55 | 3AXD50000029593 |  |  |  | 1 | [26 empty] | 1 | 1
ASSEMBLY KIT, PLASTIC | ACX580 R6 IP55 MAIN COVER | IP55 | 3AXD50000021996 |  |  |  | 1 | [28 empty] | 1
ASSEMBLY KIT, PLASTIC | ACX580 R7 IP55 MAIN COVER | IP55 | 3AXD50000021997 |  |  |  | 1 | [29 empty] | 1 | 1
ASSEMBLY KIT | COVER KIT ACS580 R8 IP55 | IP55 | 3AXD50000028350 |  |  |  | 1 | [31 empty] | 1 | 1
ASSEMBLY KIT | COVER KIT ACS580 R9 IP55 | IP55 | 3AXD50000028356 |  |  |  | 1 | [33 empty] | 1 | 1
PLASTIC HOUSING | R6/R7 LEADTHROUGH |  | 3AUA0000059481 |  |  |  | 1 | [28 empty] | 1 | 1 | 1
PLASTIC HOUSING | TERMINAL COVER R6 |  | 3AUA0000072224 |  |  | x | 1 | [28 empty] | 1
PLASTIC HOUSING | TERMINAL COVER R7 |  | 3AUA0000080830 |  |  | x | 1 | [29 empty] | 1 | 1
PLASTIC HOUSING | TERMINAL COVER R8 |  | 3AUA0000081426 |  |  | x | 1 | [31 empty] | 1 | 1
PLASTIC HOUSING | TERMINAL COVER R9 |  | 3AUA0000073822 |  |  | x | 1 | [33 empty] | 1 | 1
GASKET | for R7 TERMINAL BASE (only with IP55) |  | 3AUA0000079904 |  |  |  | 1 | [29 empty] | 1 | 1
ASSEMBLY KIT | R0 FLANGE KIT |  | 3AXD50000031455 |  |  |  | 1 | 1 | 1 | 1 | 1
ASSEMBLY KIT | R1 FLANGE KIT |  | 3AXD50000031456 |  |  |  | 1 |  |  |  |  | 1 | 1 | 1
ASSEMBLY KIT | R2 FLANGE KIT |  | 3AXD50000031457 |  |  |  | 1 | [7 empty] | 1 | 1
ASSEMBLY KIT | R3 FLANGE KIT |  | 3AXD50000031458 |  |  |  | 1 | [9 empty] | 1 | 1 | 1
ASSEMBLY KIT | R1 FLANGE KIT | Timber | 3AXD50000105311 |  |  |  | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
ASSEMBLY KIT | R2 FLANGE KIT | Timber | 3AXD50000105328 |  |  |  | 1 | [19 empty] | 1 | 1
ASSEMBLY KIT | R3 FLANGE KIT | Timber | 3AXD50000105335 |  |  |  | 1 | [21 empty] | 1 | 1 | 1
ASSEMBLY KIT | R4 FLANGE KIT |  | 3AXD50000031460 |  |  |  | 1 | [24 empty] | 1 | 1
ASSEMBLY KIT | R5 FLANGE KIT |  | 3AXD50000031461 |  |  |  | 1 | [26 empty] | 1 | 1
ASSEMBLY KIT | R6 FLANGE KIT |  | 3AXD50000018852 |  |  |  | 1 | [28 empty] | 1
ASSEMBLY KIT | R7 FLANGE KIT |  | 3AXD50000018853 |  |  |  | 1 | [29 empty] | 1 | 1
ASSEMBLY KIT | R8 FLANGE KIT |  | 3AXD50000018854 |  |  |  | 1 | [31 empty] | 1 | 1
ASSEMBLY KIT | R9 FLANGE KIT |  | 3AXD50000018855 |  |  |  | 1 | [33 empty] | 1 | 1
ASSEMBLY KIT | R6 BLIND LEADTHROUGH KIT |  | 3AXD50000003098 |  |  |  | 1 | [28 empty] | 1
ASSEMBLY KIT | R7 BLIND LEADTHROUGH KIT |  | 3AXD50000003074 |  |  |  | 1 | [29 empty] | 1 | 1
ASSEMBLY KIT | R8 BLIND LEADTHROUGH KIT |  | 3AXD50000003068 |  |  |  | 1 | [31 empty] | 1 | 1
ASSEMBLY KIT | R9 BLIND LEADTHROUGH KIT |  | 3AXD50000003070 |  |  |  | 1 | [33 empty] | 1 | 1
PLATE KIT | R0-R2 BLIND PLATE PACKED KIT |  | 3AXD50000028254 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
PLATE KIT | R3 BLIND PLATE PACKED KIT |  | 3AXD50000028273 |  |  |  | 1 | [9 empty] | 1 | 1 | 1
PLATE KIT | R4 BLIND PLATE PACKED KIT |  | 3AXD50000028274 |  |  |  | 1 | [24 empty] | 1 | 1
PLATE KIT | R6 BLIND PLATE PACKED KIT |  | 3AXD50000031397 |  |  |  | 1 | [28 empty] | 1
PLATE KIT | R7 BLIND PLATE PACKED KIT |  | 3AXD50000031398 |  |  |  | 1 | [29 empty] | 1 | 1
PLATE KIT | R8 BLIND PLATE PACKED KIT |  | 3AXD50000031399 |  |  |  | 1 | [31 empty] | 1 | 1
PLATE KIT | R9 BLIND PLATE PACKED KIT |  | 3AXD50000031400 |  |  |  | 1 | [33 empty] | 1 | 1
SUPPORT INSULATOR | DIA9,5 L=12 M4 FE-MA |  | 3AUA0000096802 |  |  |  | 1 | [28 empty] | 1
SUPPORT INSULATOR | DIA9,5 L=12 M4 FE-MA |  | 3AUA0000096802 |  |  |  | 2 | [29 empty] | 2 | 2
Wires, Wire Sets, Fiber Optics | M2
WIRE HARNESS KIT ACS880 R6 | WIRE HARNESS KIT R6 |  | 3AXD50000010147 |  | x | x | 1 | [28 empty] | 1
WIRE HARNESS KIT ACS880 R7 | WIRE HARNESS KIT R7 |  | 3AXD50000039084 |  | x | x | 1 | [29 empty] | 1 | 1
WIRE HARNESS KIT ACS880 R8 | WIRE HARNESS KIT R8 | old | 3AXD50000010150 |  | x | x | 1 | [31 empty] | 1 | 1
WIRE HARNESS KIT | ACS880 R8 | new | 3AXD50000140374 |  |  | x | 1 | [31 empty] | 1 | 1
WIRE HARNESS KIT ACS880 R9 | WIRE HARNESS KIT R9 | old | 3AXD50000010152 |  | x | x | 1 | [33 empty] | 1 | 1
WIRE HARNESS KIT | ACS880 R9 | new from 1181407016 | 3AXD50000140367 |  | x | x | 1 | [33 empty] | 1 | 1
WIRE HARNESS | ACS580 R6 | old | 3AUA0000079512 |  | x | x | 1 | [28 empty] | 1
WIRE HARNESS | ACS580 R7 | old | 3AUA0000079513 |  | x | x | 1 | [29 empty] | 1 | 1
WIRE HARNESS | ACS580 R8 | old | 3AUA0000079515 |  | x | x | 1 | [31 empty] | 1 | 1
WIRE HARNESS | ACS580 R9 | old | 3AUA0000079514 |  | x | x | 1 | [33 empty] | 1 | 1
WIRE HARNESS | DISCHRG/ BALANCING RES. WIRES 500V R6 | new | 3AXD50000010252 |  |  | x | 1 | [28 empty] | 1
WIRE HARNESS | ACSX80 R7 400/500V Balancing wire | new | 3AXD50000032254 |  | x | x | 1 | [29 empty] | 1 | 1
WIRE HARNESS | DISCHRG/ BALANCING RES. WIRES 500V R8 | new | 3AXD50000010271 |  | x | x | 1 | [31 empty] | 1 | 1
WIRE HARNESS | DISCHRG/ BALANCING RES. WIRES 500V R9 | new | 3AXD50000010259 |  | x | x | 1 | [33 empty] | 1 | 1
WIRE HARNESS KIT | PANEL/CCU-12 RJ45 CABLE KIT |  | 3AXD50000002712 | x | x | x | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
WIRE HARNESS | ACS580 IP55 R8/R9 ZDPI - CCU / X12 |  | 3AXD50000010385 |  | x | x | 1 | [31 empty] | 1 | 1 | 1 | 1
WIRE HARNESS KIT | CABLE CCON-12 / CDFI-02 |  | 3AXD50000002787 | x | x | x | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
WIRE HARNESS | R0-R3 INNER FAN EXTENSION 2 PIN TO 3PIN |  | 3AXD50000040785 | x | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
WIRE HARNESS | R1 MAIN FAN EXTENSION CABLE (3 PIN) |  | 3AXD50000044679 | x | x | x | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
WIRE HARNESS | R4 INNER FAN EXTENSION 3PIN |  | 3AXD50000028233 | x | x | x | 1 | [24 empty] | 1 | 1
WIRE HARNESS | R5 INNER FAN EXTENSION 3PIN |  | 3AXD50000028234 | x | x | x | 1 | [26 empty] | 1 | 1
WIRE HARNESS | ACX580 R6-R9 INT FAN EXT CABLE |  | 3AXD50000010125 | x | x | x | 1 | [28 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1
WIRE HARNESS | 25 mm2;600 V;COPPER R6 Phase L1 |  | 3AUA0000098124 |  |  |  | 1 | [28 empty] | 1
WIRE HARNESS | 25 mm2;600 V;COPPER R6 Phase L2 |  | 3AUA0000098125 |  |  |  | 1 | [28 empty] | 1
WIRE HARNESS | 25 mm2;600 V;COPPER R6 Phase L3 |  | 3AUA0000098126 |  |  |  | 1 | [28 empty] | 1
WIRE HARNESS | 35 mm2;600 V;COPPER R7 Phase L1 |  | 3AUA0000098127 |  |  |  | 1 | [29 empty] | 1 | 1
WIRE HARNESS | 35 mm2;600 V;COPPER R7 Phase L2 |  | 3AUA0000098128 |  |  |  | 1 | [29 empty] | 1 | 1
WIRE HARNESS | 35 mm2;600 V;COPPER R7 Phase L3 |  | 3AUA0000098129 |  |  |  | 1 | [29 empty] | 1 | 1
WIRE HARNESS | 50 mm2;600 V;COPPER R8 Phase L1 |  | 3AUA0000098130 |  |  |  | 1 | [31 empty] | 1 | 1
WIRE HARNESS | 50 mm2;600 V;COPPER R8 Phase L2 |  | 3AUA0000098131 |  |  |  | 1 | [31 empty] | 1 | 1
WIRE HARNESS | 50 mm2;600 V;COPPER R8 Phase L3 |  | 3AUA0000098132 |  |  |  | 1 | [31 empty] | 1 | 1
WIRE HARNESS | 70 mm2;600 V;COPPER R9 Phase L1 |  | 3AUA0000098133 |  |  |  | 1 | [33 empty] | 1 | 1
WIRE HARNESS | 70 mm2;600 V;COPPER R9 Phase L2 |  | 3AUA0000098144 |  |  |  | 1 | [33 empty] | 1 | 1
WIRE HARNESS | 70 mm2;600 V;COPPER R9 Phase L3 |  | 3AUA0000098145 |  |  |  | 1 | [33 empty] | 1 | 1
Maintenance Tools and Accessories | O1
SOFTWARE KIT | DCPT-01 Drive composer pro with USB cable |  | 3AUA0000108087 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1