## Generals
Product | ACS580-04
Version
Based On
Date
Made By
Status
Revision
Table | Updated | Status | Type of Table | Person
Config
Sel Condition
General information

## Rev. history
History: | Date/Made: | SAP Change number: | Note:
| 25.04.2017/Vesa Vanhatalo |  | First version of the spare part list | Note2
IHMM rev A 25.4.2017
| 15.05.2017/Vesa Vanhatalo |  | Corrected type codes
| 19.07.2017/Marika Honka |  | Removed dublicates and added 3AXD50000023864 FBIP-21 FIELDBUS KIT BACnet/IP (2-port)
| 01.08.2017/Vesa Vanhatalo |  | Added sw code CCU-24+AHVK4 2.03.0.4 SP 3AXD50000149889
| 29.08.2017/Marika Honka |  | Added 3AXD50000013804 and 3AXD50000013805 COVER KITS
| 20.09.2017/Vesa Vanhatalo |  | Added new sw code 3AXD50000173310 CCU-24+AHVK4 2.04.0.0 SP
IHMM rev B 03.10.2017
| 04.12.2017/Vesa Vanhatalo |  | ACH-AP-W 3AXD50000030358 panel has been changed to ACH-AP-W PACKED KIT SP 3AXD50000202584
ACH-AP-H PACKED KIT 3AXD50000004398 has been changed to ACH-AP-H PACKED SP 3AXD50000192175
3AXD50000018771 CCU-24-H replaced with 3AXD50000183142 CCU-24-H PACKED
| 01.02.2018/Vesa Vanhatalo |  | Added CCU-24+2.04.0.4 sw codes
IHMM rev C 02.02.2018
| 02.03.2018/Vesa Vanhatalo |  | Added 3AXD50000137954 CBAI-01 option kit
| 13.03.2018/Vesa Vanhatalo |  | Added 3AXD50000046752 , 3AXD50000046755 covers of the control unit for R10, R11
| 12.04.2018/Vesa Vanhatalo |  | Added new ccu+sw code 3AXD50000254798 CCU-24+AHVK4 2.05.0.0 SP
IHMM rev D 26.04.2018
| 24.05.2018/Lila Heilmann |  | 3AXD50000010763 DPMP-EXT ASSEMBLY KIT added

## Config
ACH580 INDUSTRIAL DRIVE SPARE PART LIST | [7 empty] | Size/Voltage_rating
ACH580-04 | Document ID: Revision: Date: | 3AXD10000608404 E 24.05.2018
| Author: Approver: | ESP300 | [5 empty] | ACH580-04-505A-4 | ACH580-04-585A-4 | ACH580-04-650A-4 | ACH580-04-725A-4 | ACH580-04-820A-4 | ACH580-04-880A-4
Name | Technical data | Designation | Code | Minimun recommendation | Normal recommendation | Maximum recommendation | Quantity | R10 | R10 | R10 | R11 | R11 | R11
Boards, control units, power supplies | A1
CONTROL UNIT | CCU-24-H PACKED |  | 3AXD50000183142 |  | X | X | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 2.01.0.4 SP |  | 3AXD50000111633 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 2.03.0.4 SP |  | 3AXD50000149889 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 2.04.0.0 SP |  | 3AXD50000173310 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 2.04.0.4 SP |  | 3AXD50000209354 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL UNIT WITH SW SPARE PART KIT | CCU-24+AHVK4 2.05.0.0 SP |  | 3AXD50000254798 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
PRIMEPACK ADAPTER BOARD | BGAD-11C |  | 3AUA0000112490 |  | x | x | 3 | 3
PRIMEPACK ADAPTER BOARD | BGAD-12C |  | 3AUA0000112491 |  | x | x | 3 |  | 3 | 3 | 3 | 3 | 3
GATE DRIVER BOARD | BGDR-01C |  | 3AUA0000074145 |  | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
POW. SUPP. BOARD BPOW-01 | BPOW-01C |  | 3AUA0000073850 |  | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
POWER SUPPLY BOARD | ZPOW-7B1C |  | 3AXD50000017375 |  | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
ZBIB-01C ADAPTER BOARD | ZBIB-01C |  | 3AUA0000112489 |  | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
MC INTERF. BOARD ZINT-7B1C SP | ZINT-7B1C NON-RATED CCU-24 SP | no rating, loadable | 3AXD50000037932 |  | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
MC INTERF. BOARD ZINT-7B1C SP | ZINT-7B1C WITHRATING CCU-24 SP | compatible CCU-24 Only | 3AXD50000037933 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
FAN POWER SUPPLY BOARD | BFPS-48C |  | 3AUA0000074419 |  | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
INPUT BRIDGE PROTECTION | AIBP-51 SP KIT |  | 68257913 |  | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
INPUT BRIDGE CONTROL | AINP-01C SP KIT |  | 68258529 |  | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
Control Panels, displays and accessories | A2
HVAC PANEL | ACH-AP-H PACKED KIT SP |  | 3AXD50000192175 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
BASIC PANEL | ACS-BP-S WITH SALES PACKAGE |  | 3AXD50000028828 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL PANEL KIT | ACH-AP-W PACKED KIT SP |  | 3AXD50000202584 | x | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL PANEL KIT | ACS-AP-I PACKED KIT | . | 3AUA0000088311 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL PANEL KIT (Door kit) | DPMP-03 |  | 3AXD50000016230 |  | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
DPMP-EXT | ASSEMBLY KIT |  | 3AXD50000010763 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
PANEL BUS ADAPTER | CDPI-01 PACKED KIT |  | 3AXD50000004419 | x | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
Interface Option (fieldbus, I/O etc.) | A3
DEVICENET FDNA-01 OPTION/SP KIT | FDNA-01 | K451 | 68469341 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
PROFIBUS-DP FPBA-01 OPTION/SP KIT | FPBA-01 | K454 | 68469325 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
OPTIONS KIT External 24V and I/O extension | CMOD-01 PACKED KIT | L501 | 3AXD50000004420 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
EXTERNAL 24 V AND PTC INTERFACE | CMOD-02 | L523 | 3AXD50000004418 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
115/230V DIGITAL INPUT | CHDI-01 | L512 | 3AXD50000004431 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
OPTION KIT | CBAI-01 PACKED KIT |  | 3AXD50000137954 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
FIELDBUS KIT BACnet/IP (2-port) | FBIP-21 | K465 | 3AXD50000023864 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
FIELDBUS KIT ETHERNET FENA-11 | FENA-11 | K473 | 3AUA0000089107 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
MODBUS ADAPTER KIT | FSCA-01 | K458 | 3AUA0000031336 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
CANOPEN FCAN-01 OPTION/SP KIT | FCAN-01 | K457 | 68469376 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
EtherCAT ADAPTER KIT | FECA-01 | K469 | 3AUA0000072069 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
Ethernet POWERLINK | FEPL-02 | K470 | 3AUA0000072120 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
FIELDBUS KIT ETHERNET FENA-21 | FENA-21 | K475 | 3AUA0000089109 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
FIELDBUS KIT CONTROLNET FCNA-01 | FCNA-01 | K462 | 3AUA0000094512 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
Filters, Reactors, Coils, chokes | C1
INTERNAL CHOKE | GCHO 5110 50UH/ 500V/ 515A | L11 | 3AUA0000080976 |  |  |  | 1 | 1
INTERNAL CHOKE | GCHO 5210 35UH/ 500V/ 700A | L11 | 3AUA0000080955 |  |  |  | 1 |  | 1 | 1
INTERNAL CHOKE | GCHO 5210 25UH / 500V/ 880A | L11 | 3AUA0000080952 |  |  |  | 1 |  |  |  | 1 | 1 | 1
COMMON MODE FILTER | G1, G2 | NEW CODE | 3AUA0000094324 |  | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
EMC FILTER | EMC FILTER PACK ARFI-10 KIT |  | 68241561 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
Transformers, transducers (voltage, current) | C2
CURRENT TRANSDUCER | LF 505-S/SP13 | U31-U33 | 64572814 |  | x | x | 3 | 3
CURRENT TRANSDUCER | 1000A | U31-U33 | 3AXD50000037396 |  | x | x | 3 |  | 3 | 3 | 3 | 3 | 3
Power semiconductors (IGBTs etc.) | D1
IGBT MODULE | IGBT 600A+BGAD-11C KIT | R10 | 3AXD50000038770 |  | x | x | 3 | 3
IGBT MODULE | IGBT 900A+BGAD-12C KIT | R10 | 3AXD50000038783 |  | x | x | 3 |  | 3 | 3
IGBT MODULE | IGBT 1400A+BGAD-12C KIT | R11 | 3AXD50000038784 |  | x | x | 3 |  |  |  | 3 | 3 | 3
SPAREPART KIT IGBT MODULE 600A | 600A (OUTPUT IGBT MODULE) | R10 | 3AXD50000013022 |  | x | x | 1 | 1
SPAREPART KIT IGBT MODULE 900A | 900A (OUTPUT IGBT MODULE) | R10 | 3AXD50000013023 |  | x | x | 1 |  | 1 | 1
SPAREPART KIT IGBT MODULE 1400A | 1400A (OUTPUT IGBT MODULE) | R11 | 3AXD50000013024 |  | x | x | 1 |  |  |  | 1 | 1 | 1
THYRISTOR/DIODE MODULE | R10 G1 SINGLE MODULE SP KIT | R10 | 3AXD50000027346 |  | x | x | 1 | 1
THYRISTOR/DIODE MODULE | R10/R11 G1/G2 SINGLE MODULE SP KIT | R10+R11 | 3AXD50000027347 |  | x | x | 1 |  | 1 | 1 | 1
THYRISTOR/DIODE MODULE | R11 G2 SINGLE MODULE SP KIT | R11 | 3AXD50000027348 |  | x | x | 1 |  |  |  |  | 1 | 1
SPAREPART KIT THYR./DIODE MODUL 1600 | 305A | R10 | 3AXD50000013028 |  | x | x | 1 | 1
SPAREPART KIT THYR./DIODE MODUL 1601 | 570A | R10+R11 | 3AXD50000013029 |  | x | x | 1 |  | 1 | 1 | 1
SPAREPART KIT THYR./DIODE MODUL 1600 | 570A | R11 | 3AXD50000013030 |  | x | x | 1 |  |  |  |  | 1 | 1
THERMAL COMPOUND HEAT TRANSFER COMPOUND | HYPODERMIC 5CC |  | 3AUA0000074768 |  | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
HEATING CONDUCTOR | PRIMEPACK2 TIM GRAPHITE SP |  | 3AXD50000031371 |  | x | x | 3 | 3 | 3 | 3
HEATING CONDUCTOR | PRIMEPACK3 TIM GRAPHITE SP |  | 3AXD50000031374 |  | x | x | 3 |  |  |  | 3 | 3 | 3
Fans, air filters and accessories | E4
FAN KIT ACS850-04 G1 | G1 fans 2pcs | R10 | 3AUA0000106751 | x | x | x | 1 | 1 | 1 | 1
FAN KIT ACS850-04 G2 | G2 fans 2pcs | R11 | 3AUA0000094209 | x | x | x | 1 |  |  |  | 1 | 1
FAN KIT ACS850-04 G2 | G2 fans 3pcs | R11 | 3AUA0000094147 | x | x | x | 1 | [5 empty] | 1
SUB-ASSEMB. KIT ACS850-04 G2 | PCB ROOM FAN |  | 3AUA0000094288 | x | x | x | 2 | 2 | 2 | 2 | 2 | 2 | 2
Resistors | E5
SPAREPART KIT DISCHARGING RESISTORS | Resistors 2pcs | R10 | 3AUA0000101974 |  | x | x | 1 | 1 | 1 | 1
SPAREPART KIT DISCHARGING RESISTORS | Resistors 3pcs | R11 | 3AUA0000101975 |  | x | x | 1 |  |  |  | 1 | 1 | 1
CHARGING RESISTOR | CAH 150 C H 401 3R3 | R10 | 3AUA0000109457 |  | x | x | 1 | 1 | 1 | 1
CHARGING RESISTOR | CBH 165 C 4 10R | R11 | 3AUA0000085642 |  | x | x | 1 |  |  |  | 1 | 1 | 1
CHARGING DIODE | SKN20/12 1200V SM320A | V17 | 64528556 |  | x | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
Capacitors | E6
SPAREPART KIT CAPACITOR BATTERY | G2 COMPLETE DC CAPACITOR BATTERY | R11 | 3AUA0000118541 |  |  | x | 1 |  |  |  | 1 | 1 | 1
SPAREPART KIT CAPACITOR BATTERY | G1 COMPLETE DC CAPACITOR BATTERY | R10 | 3AUA0000118542 |  |  | x | 1 | 1 | 1 | 1
OUTPUT IGBT CLAMP CAPACITOR KIT 3PCS | 2UF+-10% 1200V + FOAMs | R10 | 3AUA0000127664 |  | x | x | 1 | 1 | 1 | 1
OUTPUT IGBT CLAMP CAPACITOR KIT 6PCS | 2UF+-10% 1200V + FOAMs | R11 | 3AXD50000013080 |  | x | x | 1 |  |  |  | 1 | 1 | 1
Mechanics (busbars, isolators etc.) | M1
SUB-ASSEMB. KIT, STEEL | G2 DC INPUT BUSBARS | R10+R11 | 3AUA0000100259 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
BUS BAR, CU | G1 U OUT | R10 | 3AUA0000110024 |  |  |  | 1 | 1
BUS BAR, CU | G1 V OUT | R10 | 3AUA0000110023 |  |  |  | 1 | 1
BUS BAR, CU | G1 W OUT | R10 | 3AUA0000110041 |  |  |  | 1 | 1
BUS BAR, CU | G2 U OUT | R10+R11 | 3AUA0000106810 |  |  |  | 1 |  | 1 | 1 | 1 | 1 | 1
BUS BAR, CU | G2 V OUT | R10+R11 | 3AUA0000106809 |  |  |  | 1 |  | 1 | 1 | 1 | 1 | 1
BUS BAR, CU | G2 W OUT | R10+R11 | 3AUA0000106811 |  |  |  | 1 |  | 1 | 1 | 1 | 1 | 1
BUS BAR, CU | G2 U IGBT | R10+R11 | 3AUA0000080393 |  |  |  | 1 |  | 1 | 1 | 1 | 1 | 1
BUS BAR, CU | G2 V IGBT | R10+R11 | 3AUA0000080394 |  |  |  | 1 |  | 1 | 1 | 1 | 1 | 1
BUS BAR, CU | G2 W IGBT | R10+R11 | 3AUA0000111854 |  |  |  | 1 |  | 1 | 1 | 1 | 1 | 1
BAR, STEEL | G2 GROUND BOTTOM |  | 3AXD50000034218 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
SUB-ASSEMB. KIT, STEEL | G1 MIDDLE DC BUSBARS | R10 | 3AUA0000109574 |  |  |  | 1 | 1 | 1 | 1
SUB-ASSEMB. KIT, STEEL | G2 MIDDLE DC BUSBARS | R11 | 3AUA0000094055 |  |  |  | 1 |  |  |  | 1 | 1 | 1
SPAREPART KIT POWER STAGE BUS BARS | INSULATES, BUS BARS AND ACCESSORIES | R11 | 3AUA0000101989 |  |  | x | 1 |  |  |  | 1 | 1 | 1
SPAREPART KIT MODULE INPUT BUS BARS | SUPPORT INSULATES AND BUS BARS | R10+R11 | 3AUA0000101996 |  |  | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
SPAREPART KIT MODULE OUTPUT BUS BARS | SUPPORT INSULATES AND BUS BARS | R10+R11 | 3AUA0000118468 |  |  | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
SPAREPART KIT POWER STAGE INSULATES | INSULATES FOR POWER STAGE | R11 | 3AUA0000101992 |  |  | x | 1 |  |  |  | 1 | 1 | 1
SPAREPART KIT POWER STAGE INSULATES | INSULATES FOR POWER STAGE | R10 | 3AUA0000118487 |  |  | x | 1 | 1 | 1 | 1
SUB-ASSEMB. KIT, STEEL | R10 COVER INPUT SIDE | R10 | 3AXD50000014159 |  |  |  | 1 | 1 | 1 | 1
SUB-ASSEMB. KIT, STEEL | R11 COVER INPUT SIDE | R11 | 3AUA0000131503 |  |  |  | 1 |  |  |  | 1 | 1 | 1
SUB-ASSEMB. KIT, STEEL | R10 OUTPUT SIDE COVER | R10 | 3AUA0000128697 |  |  |  | 1 | 1 | 1 | 1
SUB-ASSEMB. KIT, STEEL | R11 OUTPUT SIDE COVER | R11 | 3AUA0000137788 |  |  |  | 1 |  |  |  | 1 | 1 | 1
SUB-ASSEMB. KIT, STEEL | PCB ASSEMBLY R10 | R10 | 3AXD50000018364 |  |  |  | 1 | 1 | 1 | 1
SUB-ASSEMB. KIT, STEEL | PCB ASSEMBLY R11 | R11 | 3AXD50000018363 |  |  |  | 1 |  |  |  | 1 | 1 | 1
ASSEMBLY KIT | COVER OF CONTROL UNIT R10 | R10 | 3AXD50000046752 |  |  |  | 1 | 1 | 1 | 1
ASSEMBLY KIT | COVER OF CONTROL UNIT R11 | R11 | 3AXD50000046755 |  |  |  | 1 |  |  |  | 1 | 1 | 1
SUB-ASSEMB. KIT, STEEL | G1 OPTION BOX OUTPUT CF | R10 | 3AUA0000110002 |  |  |  | 1 | 1 | 1 | 1
SUB-ASSEMB. KIT, STEEL | G1 OPTION BOX INPUT CF WO DC | R10 | 3AUA0000119597 |  |  |  | 1 | 1 | 1 | 1
SUB-ASSEMB. KIT, STEEL | G1 OPTION BOX INPUT CF | R10 | 3AUA0000119598 |  |  |  | 1 | 1 | 1 | 1
SUB-ASSEMB. KIT, STEEL | G2 OPTION BOX INPUT CF WO DC | R11 | 3AUA0000121735 |  |  |  | 1 |  |  |  | 1 | 1 | 1
SUB-ASSEMB. KIT, STEEL | G2 OPTION BOX INPUT CF | R11 | 3AUA0000121736 |  |  |  | 1 |  |  |  | 1 | 1 | 1
SUB-ASSEMB. KIT, STEEL | ACS850-04 G1/G2 BOOKSHELF PED. | R10+R11 | 3AXD50000015829 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
SUB-ASSEMB. KIT, STEEL | ACS880-04 RAMP BOX | R10+R11 | 3AXD50000009993 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
SUB-ASSEMB. KIT, STEEL | RAMP ACCESSORY BOX |  | 3AUA0000100501 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
MACHINED PARTS | DC TERMINALS H356 OPTION KIT |  | 3AXD50000027387 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
COVER KIT | LIGHT CP IP SHROUD | R10 | 3AXD50000013804 |  |  |  | 1 | 1 | 1 | 1
COVER KIT | LIGHT CP IP SHROUD | R11 | 3AXD50000013805 |  |  |  | 1 |  |  |  | 1 | 1 | 1
Wires, wire sets, fiber optics | M2
FIBRE OPTIC CABLE | R11, ZINT-BFPS | R10+R11 | 3AUA0000125538 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
FIBRE OPTIC CABLE | R11, ZINT-ZBIB | R10+R11 | 3AUA0000125539 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
FIBRE LINK ZINT-ZBIB EXT.JCU EXT. CABLE | FIBRE OPTIC CABLE | R10+R11 | 3AUA0000135465 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
WIRE HARNESS KIT | STD (used with BPOW-01C) | R10+R11 | 3AXD50000010911 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
WIRE HARNESS KIT | STD VER 3 (used with ZPOW-7B1C) | R10+R11 | 3AXD50000036048 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
WIRE HARNESS KIT | External CCU wire harness kit | R10+R12 | 3AXD50000008046 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
FLAT CABLE | ZBIB-CCU | R10+R12 | 3AXD50000016175 |  |  | x | 1 | 1 | 1 | 1 | 1 | 1 | 1
WIRE HARNESS KIT SPELT 2X FAN (<500 KW) | WIRE HARNESS ACS880 2 Main 2 PCB fans | R10&R11 | 3AXD50000009468 |  |  | x | 1 | 1 | 1 | 1 | 1 | 1
WIRE HARNESS KIT SPELT 3X FAN (500 KW) | WIRE HARNESS ACS880 3 Main 2 PCB fans | R11 | 3AUA0000135444 |  |  | x | 1 | [5 empty] | 1
WIRE HARNESS KIT SPELT INT ZCU | WIRE HARNESS ACS880 | R10+R11 | 3AUA0000135514 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
BPOW-ZINT-AINP | WIRE HARNESS KIT | R10+R11 | 3AXD50000004553 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
WIRE HARNESS | WIRE HARNESS R10/R11 ZBDR-BGAD BRAKE | R10+R11 | 3AXD50000010914 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
WIRE HARNESS | DC- discharging resistors | R11 | 3AUA0000087678 |  |  |  | 1 |  |  |  | 1 | 1 | 1
WIRE HARNESS | DC- discharging resistors | R10 | 3AUA0000109444 |  |  |  | 1 | 1 | 1 | 1
Maintenance tools and accessories | O1
Drive Composer Pro | DCPT-01 |  | 3AUA0000108087 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1

## SP categories
A1 | Boards, control units, power supplies
A2 | Control Panels, displays and accessories
A3 | Interface Option (fieldbus, I/O etc.)
B1 | Drive-, supply- and power modules
B2 | Braking choppers and accessories
C1 | Filters, Reactors, Coils, chokes
C2 | Transformers, transducers (voltage, current)
D1 | Power semiconductors (IGBTs etc.)
E1 | Circuit breakers (main circuit breakers etc.)
E2 | Switches, relays, contactors
E3 | Fuses (AC and DC) and accessories
E4 | Fans, air filters and accessories
E5 | Resistors
E6 | Capacitors
F1 | Protection and monitoring devices (surge arresters etc.)
F2 | Sensors (temperature, pressure etc.)
L1 | Liquid cooling parts
M1 | Mechanics (busbars, isolators etc.)
M2 | Wires, wire sets, fiber optics
O1 | Maintenance tools and accessories
P1 | Preventive maintenance kits
S1 | Software and program memories