## Generals
Product | ACS880-01, Industrial Drive Module
Version
Based On
Date
Made By
Status
Revision
Table | Updated | Status | Type of Table | Person
Config
Sel Condition
General information

## Rev. history
History: | Date/Made: | SAP Change number: | Note:
Draft | 11.01.2017/Vesa Vanhatalo |  | First Draft DMS: 4FPS10000579045
| 27.01.2017/Vesa Vanhatalo |  | Added opened parts
IHMM rev A 27.1.2017
| 17.02.2017/Vesa Vanhatalo |  | Internal fan 3AUA0000088115 set also for R6 and finger quard
| 22.05.2017/Vesa Vanhatalo |  | Added 3AXD50000044220 fan grounding wire
IHMM rev B ???????
IHMM rev C 22.5.2017
| 07.08.2017/Vesa Vanhatalo |  | Added 3AXD50000129959 R3 main fan assembly
| 04.12.2017/Vesa Vanhatalo |  | ACH-AP-W 3AXD50000030358 panel has been changed to ACH-AP-W PACKED KIT SP 3AXD50000202584
ACH-AP-H PACKED KIT 3AXD50000004398 has been changed to ACH-AP-H PACKED SP 3AXD50000192175
3AXD50000018771 CCU-24-H replaced with 3AXD50000183142 CCU-24-H PACKED
ACS-AP-I PACKED KIT SP 3AXD50000192182
| 19.03.2018/Vesa Vanhatalo |  | Corrected CCU-24-H code to correct one 3AXD50000192175 ->3AXD50000183142
| 13.04.2018/Vesa Vanhatalo |  | Fan axial R6 code changed from 3AXD50000029945 to 3AXD50000220830
IHMM rev D 22.5.2017

## Config
ACH580 GENERAL PURPOSE DRIVE SPARE PART LIST | [11 empty] | Size/Voltage_rating
ACH580-31 | Document ID: Revision: Date: | 4FPS10000579045 D 26.04.2018 | [5 empty] | -
| Author: Approver: | ESP300 | [5 empty] | ACH580 | ACH580-31-09A5-4 | ACH580-31-12A7-4 | ACH580-31-018A-4 | ACH580-31-026A-4 | ACH580-31-033A-4 | ACH580-31-039A-4 | ACH580-31-046A-4 | ACH580-31-062A-4 | ACH580-31-073A-4 | ACH580-31-088A-4
Name | Technical data | Designation | Code | Multiple codes | Quantity | Changed | Change number | Status | R3 | R3 | R3 | R3 | R6 | R6 | R6 | R6 | R6 | R6
Drive-, supply- and power modules | B1 | [6 empty] | Header
xxxxxx |  |  | 999999 |  |  |  |  | 0
Boards, control units, power supplies | A1 | [6 empty] | Header
CONTROL UNIT | CCU-24-H PACKED |  | 3AXD50000183142 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
I/O BOARD | CDFI-02C |  | 3AUA0000102430 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
ADAPTER BOARD | ZDPI-01 |  | 3AUA0000058712 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
Control Panels, displays and accessories | A2 | [6 empty] | Header
CONTROL PANEL KIT | ACS-AP-I PACKED KIT SP |  | 3AXD50000192182 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL PANEL KIT | ACH-AP-H PACKED KIT SP |  | 3AXD50000192175 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONTROL PANEL KIT | ACH-AP-W PACKED KIT SP |  | 3AXD50000202584 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Interface Option (fieldbus, I/O etc.) | A3 | [6 empty] | Header
DEVICENET FDNA-01 OPTION/SP KIT | FDNA-01 | K451 | 68469341 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
PROFIBUS-DP FPBA-01 OPTION/SP KIT | FPBA-01 | K454 | 68469325 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
CANOPEN FCAN-01 OPTION/SP KIT | FCAN-01 | K457 | 68469376 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
MODBUS ADAPTER KIT | FSCA-01 | K458 | 3AUA0000031336 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
EtherCAT ADAPTER KIT | FECA-01 | K469 | 3AUA0000072069 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
FIELDBUS KIT LONWORKS FLON-01 | FLON-01 | K452 | 3AUA0000037539 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
FIELDBUS KIT CONTROLNET FCNA-01 | FCNA-01 | K462 | 3AUA0000094512 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
FIELDBUS KIT ETHERNET FENA-11 | FENA-11 | K473 | 3AUA0000089107 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
HIGH PERFORMANCE 2-PORT ETHERNET (EtherNet/IP, Modbus/TCP, PROFINET) | FENA-21 | K474 | 3AUA0000089109 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Ethernet POWERLINK | FEPL-02 | K470 | 3AUA0000072120 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
FIELDBUS KIT | FBIP-21 KIT | K465 | 3AXD50000023864 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
OPTIONS KIT | CMOD-01 PACKED KIT | L501 | 3AXD50000004420 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
OPTIONS KIT | CMOD-02 PACKED KIT | L523 | 3AXD50000004418 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
OPTIONS KIT | CHDI-01 PACKED KIT | L512 | 3AXD50000004431 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Braking choppers and accessories | B2 | [6 empty] | Header
xxxxxx |  |  | 999999 |  |  |  |  | 0
Filters, Reactors, Coils, chokes | C1 | [6 empty] | Header
xxxxxx |  |  | 999999 |  |  |  |  | 0
Transformers, transducers (voltage, current) | C2 | [6 empty] | Header
xxxxxx |  |  | 999999 |  |  |  |  | 0
Power semiconductors (IGBTs etc.) | D1 | [6 empty] | Header
xxxxxx |  |  | 999999 |  |  |  |  | 0
Circuit breakers (main circuit breakers etc.) | E1 | [6 empty] | Header
xxxxxx |  |  | 999999 |  |  |  |  | 0
Switches, relays, contactors | E2 | [6 empty] | Header
xxxxxx |  |  | 999999 |  |  |  |  | 0
Fuses (AC and DC) and accessories | E3 | [6 empty] | Header
xxxxxx |  |  | 9999999 |  |  |  |  | 0
Fans, air filters and accessories | E4 | [6 empty] | Header
FAN, AXIAL | MAIN FAN ASSEMBLY ACS880-11 / 31 R3 |  | 3AXD50000129959 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1
FAN, AXIAL | ACXX80-X1 R6 | 24 V;30 W;1 A;9 m3/s | 3AXD50000220830 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
SUPPORT, PLASTIC | FAN SUPPORT BRACKET | PC-ABS; | 3AXD50000026389 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
BRACKET, PLASTIC | 150 FAN BRACKET |  | 3AXD50000013943 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
Internal Fan | NMB 2410ML-05W-B79-EQ2 | Y41 | 3AUA0000088115 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
FINGER GUARD FOR FAN | LZ28-1 /-11 | 59X59X4,7DIM, 50X50X4,3 FIXING | 64550993 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Resistors | E5 | [6 empty] | Header
xxxxxx |  |  | 999999 |  |  |  |  | 0
Capacitors | E6 | [6 empty] | Header
xxxxxx |  |  | 999999 |  |  |  |  | 0
Sensors (temperature, pressure etc.) | F2 | [6 empty] | Header
xxxxxx |  |  | 999999 |  |  |  |  | 0
Mechanics (busbars, isolators etc.) | M1 | [6 empty] | Header
COVER KIT | R3 IP21 COVER KIT |  | 3AXD50000029643 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1
COVER KIT | R3 IP55 COVER KIT |  | 3AXD50000029644 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1
COVER KIT | ACS5X0 R1-R5 | HVAC BRAND PLATE | 3AUA0000128871 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
CONDUIT BOX, KIT | R3 IP21 GLAND PLATE KIT |  | 3AXD50000029587 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1
CONDUIT BOX, KIT | R3 IP55 GLAND PLATE KIT |  | 3AXD50000029581 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1
GASKET | PLUG, AIR VENT, R3 |  | 3AUA0000055686 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1
COVER, PLASTIC | R6 TOP FRONT COVER | PC-ABS; | 3AXD50000020244 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
COVER, PLASTIC | R6 BOTTOM COVER | PC-ABS; | 3AXD50000020214 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
ASSEMBLY KIT | ACH580-11 R6 | IP55 FRONT COVER KIT | 3AXD50000036202 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
ASSEMBLY KIT | ACXX80-X1 R6 | CABLE LEADTHROUGH KIT | 3AXD50000031022 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
ROOF KIT | ACS880 UL TYPE 12 HOOD R6 |  | 3AXD50000004560 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
ASSEMBLY KIT | PANEL HOLDER KIT ACX5X0 R5-R9 |  | 3AXD50000004519 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
ASSEMBLY KIT | ACXX80-X1 R6 | IP55 CABLE LEADTHROUGH KIT | 3AXD50000031010 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
SUPPORT, PLASTIC | R6-R9 IP21 PANEL HOLDER TRIPOD | PC-ABS; | 3AXD50000011143 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
SUB-ASSEMBLY | ACXX80-X1 R6 | POWER CLAMP KIT | 3AXD50000031031 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
INSULATING SHEET, PLASTIC | TERMINAL COVER | PC 1,0; | 3AXD50000028241 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
PLASTIC HOUSING | PANEL HOLDER IP55 R4-R9 |  | 3AUA0000118216 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
AIR GUIDE KIT | AIR GUIDE AND GROMMET | ACS880 R6 IP55 KIT | 3AUA0000120081 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
Wires, wire sets, fiber optics | M2 | [6 empty] | Header
WIRE HARNESS | R4 INNER FAN EXTENSION 3PIN | 26 AWG;ACX580-01 | 3AXD50000028233 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1
WIRE HARNESS KIT | CABLE CCON-12 / CDFI-02 | . | 3AXD50000002787 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
WIRE HARNESS | ACS580 R8/R9 | CCON-ZDPI | 3AXD50000010385 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
WIRE HARNESS KIT | CABLE CCON / CDFI |  | 3AXD50000036380 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1
WIRE HARNESS KIT | PANEL/CCON-12 RJ45 CABLE KIT |  | 3AXD50000002712 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1
WIRE HARNESS | ACXX80-X1 R6 |  | 3AXD50000044220 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
Software and program memories | S1 | [6 empty] | Header
xxxxxx |  |  | 999999 |  |  |  |  | 0
Maintenance tools and accessories | O1 | [6 empty] | Header
SOFTWARE KIT | DCPT-01 Drive composer pro with USB cable |  | 3AUA0000108087 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Preventive maintenance kits | P1 | [6 empty] | Header
0
0
Note on I4: 0 = Only listed, not downloaded to SAP & POL 1 = Released in BOL & SAP 2 = FIDRI proposal for part to be released 3 = Not released in POL & SAP, but material expanded to FIPSE plant (0400) 4 = Not released in POL & SAP and material NOT expanded to FIPSE plant (0400) 5 = Old type, replaced with other one(s) Note: FIDRI uses ONLY either 0 or 2. FIPSE then changes the status!

## SP categories
A1 | Boards, control units, power supplies
A2 | Control Panels, displays and accessories
A3 | Interface Option (fieldbus, I/O etc.)
B1 | Drive-, supply- and power modules
B2 | Braking choppers and accessories
C1 | Filters, Reactors, Coils, chokes
C2 | Transformers, transducers (voltage, current)
D1 | Power semiconductors (IGBTs etc.)
E1 | Circuit breakers (main circuit breakers etc.)
E2 | Switches, relays, contactors
E3 | Fuses (AC and DC) and accessories
E4 | Fans, air filters and accessories
E5 | Resistors
E6 | Capacitors
F1 | Protection and monitoring devices (surge arresters etc.)
F2 | Sensors (temperature, pressure etc.)
L1 | Liquid cooling parts
M1 | Mechanics (busbars, isolators etc.)
M2 | Wires, wire sets, fiber optics
O1 | Maintenance tools and accessories
P1 | Preventive maintenance kits
S1 | Software and program memories