## Instructions
Spares Proposal Matrix Instructions & Tips
The Proposal Matrix file for each drive type contains a macro and configuration for easily creating a customer proposal for new drive spares. If you need more complete information, including spares for older revisions of drives, contact our Drives Proposal Team at sales.drives.services@us.abb.com or call 1-800-752-0696 chose option for Drives, then option for spare parts and repairs.
This Proposal Matrix workbook contains the following worksheets:
1) Instructions: This worksheet.
2) ACH550-BDR Spares: The new drive spares matrix and drive quantity input
3) Quote Information: "Generate Proposal Worksheet" pushbutton. User and quotation information which will show in the header and footer of the quotation worksheet.
MSExcel2003 Settings:
Prior to opening this workbook, your MSExcel settings should be:
1) Enable MSExcel Macros: Tools►Macro►Security►Security Level►Medium
2) Enable MSExcel Comments: Tools►Options►View ►Comments►Comment indicator only
3) Make sure MSExcel has your name: Tools►Options►General►User name
If your MSExcel options are not set as above, set them that way, close this workbook, then re-open it. When prompted, select "Enable Macros".
MSExcel2007 Settings:
Prior to opening this workbook, your MSExcel settings should be:
Enable MSExcel Macros: Note: See the cell comments to view screen shots
1) ►Click on Office buttom►Click on Excel Options
2) ►Click on Trust Center►Click on Trust Center Settings►Click on Marco Settings►Select Disable all macros with notification ►Close and reopen this Excel file
3) When you reopen the Excel file, you will see prompt called "Security Warning"►Click on Options ►Select "Enable this contents" ►Click Ok
Proposal Matrix Usage:
1) Select the ACH550-BDR Spares worksheet.
2) Insert the quantity of each drive rating in the green "Drive Quantity" row, Row 6.
3) Continuing to the right in Row 6, select the spares level - Basic, Moderate, Comprehensive.
4) Scan down the "Requested Quantity" column, changing quantities as you see fit. Example: Some of the items are not considered as recommended spares (NR) or plus code spares (PCS). These are identified has NR and PCS under the Sparing Level coloum. If this item is needed, you'll have to adjust quantities for these.
5) Select the "Quote Information" worksheet.
6) Insert user and quotation information that you want to be inserted into the header and footer of the proposal worksheet.
7) Press the "Generate Proposal Worksheet" pushbutton.
8) Rnnnn worksheet is active.
9) Verify Sparing level and Requested Quantities.
10) Pricing can be added to the worksheet. Please refer to cBOL to look up current pricing,
11) Verify print layout using menu items File►Print Preview and File►Page Setup
12) Save the workbook under your proposal folder using the menu item File.SaveAs…
13) If you want the Rnnnn worksheet as a stand-alone workbook, activate (select) it and use the menu item: Edit►Move or Copy Sheet…►Click "Copy Sheet", select "To Book"=(new book), press OK. Save the new workbook using File►Save As...
Tips:
1) Cells shaded in green are for your data entry.
2) The macro retains your original ACH550-BDR Spares worksheet so you can make multiple proposal revisions.
3) Each time it is run, the macro will make a new worksheet with the name Rnnnn, starting with R0001.
4) An item in ACH550-BDR Spares worksheet will not appear in the Rnnnn worksheet if "Requested Quantity" = 0.
5) The Rnnnn worksheet will not respond to changes in drive quantities - change quantities in ACH550-BDR Spares worksheet and rerun macro.
6) The Rnnnn worksheet will respond to changes in Sparing Level, Row 2, for items which you did not customize the "Requested Quantity". For this reason, you may want to customize quantities only in the Rnnnn worksheet.
7) In Quote Information worksheet, the default text in "Proposal offered by {You}" refers to MSExcel: Tools ►Options►General►User name
Notes:
1) If you do not have access to cBOL, please goto abbnow.com to request an account.
2) This file is intended for new drive spares proposals. For existing drives, it is best to provide the S/N and/or model number to Drive Services to insure the correct spare part offerings are provided to you. Please contact Drive Services at 800-752-0692 or sales.drives.services@us.abb.com
3) To view a picture of the item, move the curser over the P/N. Note: Actual item may vary from picture

## ACH550-BDR
ACH550-BDR Recommended Spares
| Template: | DRVSRV-PNPP15U-EN Rev K |  |  | ACH550-BDR Units built prior to 5/1/2018 or < s/n 21817xxxxx (Classic Design) | [53 empty] | ACH550-BDR Units built between 5/1/2018 and 8/1/2018 or s/n 21817xxxxx and 21831xxxxx | ACH550-BDR Units built after 8/1/2018 or > s/n 21831xxxxx (New Design)
[5 empty] | 208/240V | [15 empty] | 380/480 V | [21 empty] | 575/600V | [16 empty] | 208/240V | [15 empty] | 380/480 V | [21 empty] | 575/600V
[5 empty] | B1 | [5 empty] | B2 |  |  |  | B3 | [5 empty] | B1 | [6 empty] | B2 | [5 empty] | B3 |  |  |  |  | B4 |  |  |  | B1 | [5 empty] | B2 | [5 empty] | B3 |  |  |  |  | B1 | [5 empty] | B2 |  |  |  | B3 | [5 empty] | B1 | [6 empty] | B2 | [5 empty] | B3 |  |  |  |  | B4 |  |  |  | B1 | [5 empty] | B2 | [5 empty] | B3
TRUE | Part Number | Description | Design Rev | Options Every C must have a corresponding U - use neither if no option C=Coated U=Uncoated | ACH550-BDR-04A6-2 | ACH550-BDR-06A6-2 | ACH550-BDR-07A5-2 | ACH550-BDR-012A-2 | ACH550-BDR-017A-2 | ACH550-BDR-024A-2 | ACH550-BDR-031A-2 | ACH550-BDR-046A-2 | ACH550-BDR-059A-2 | ACH550-BDR-075A-2 | ACH550-BDR-088A-2 | ACH550-BDR-114A-2 | ACH550-BDR-143A-2 | ACH550-BDR-178A-2 | ACH550-BDR-221A-2 | ACH550-BDR-248A-2 | ACH550-BDR-03A3-4 | ACH550-BDR-04A1-4 | ACH550-BDR-06A9-4 | ACH550-BDR-08A8-4 | ACH550-BDR-012A-4 | ACH550-BDR-015A-4 | ACH550-BDR-023A-4 | ACH550-BDR-031A-4 | ACH550-BDR-038A-4 | ACH550-BDR-045A-4 | ACH550-BDR-059A-4 | ACH550-BDR-072A-4 | ACH550-BDR-078A-4 | ACH550-BDR-097A-4 | ACH550-BDR-125A-4 | ACH550-BDR-157A-4 | ACH550-BDR-180A-4 | ACH550-BDR-246A-4 | ACH550-BDR-316A-4 | ACH550-BDR-368A-4 | ACH550-BDR-414A-4 | ACH550-BDR-486A-4 | ACH550-BDR-02A7-6 | ACH550-BDR-03A9-6 | ACH550-BDR-06A1-6 | ACH550-BDR-09A0-6 | ACH550-BDR-011A-6 | ACH550-BDR-017A-6 | ACH550-BDR-022A-6 | ACH550-BDR-027A-6 | ACH550-BDR-032A-6 | ACH550-BDR-041A-6 | ACH550-BDR-052A-6 | ACH550-BDR-062A-6 | ACH550-BDR-077A-6 | ACH550-BDR-099A-6 | ACH550-BDR-125A-6 | ACH550-BDR-144A-6 | These will need to be verified by Tech Support | ACH550-BDR-04A6-2 | ACH550-BDR-06A6-2 | ACH550-BDR-07A5-2 | ACH550-BDR-012A-2 | ACH550-BDR-017A-2 | ACH550-BDR-024A-2 | ACH550-BDR-031A-2 | ACH550-BDR-046A-2 | ACH550-BDR-059A-2 | ACH550-BDR-075A-2 | ACH550-BDR-088A-2 | ACH550-BDR-114A-2 | ACH550-BDR-143A-2 | ACH550-BDR-178A-2 | ACH550-BDR-221A-2 | ACH550-BDR-248A-2 | ACH550-BDR-03A3-4 | ACH550-BDR-04A1-4 | ACH550-BDR-06A9-4 | ACH550-BDR-08A8-4 | ACH550-BDR-012A-4 | ACH550-BDR-015A-4 | ACH550-BDR-023A-4 | ACH550-BDR-031A-4 | ACH550-BDR-038A-4 | ACH550-BDR-045A-4 | ACH550-BDR-059A-4 | ACH550-BDR-072A-4 | ACH550-BDR-078A-4 | ACH550-BDR-097A-4 | ACH550-BDR-125A-4 | ACH550-BDR-157A-4 | ACH550-BDR-180A-4 | ACH550-BDR-246A-4 | ACH550-BDR-316A-4 | ACH550-BDR-368A-4 | ACH550-BDR-414A-4 | ACH550-BDR-486A-4 | ACH550-BDR-02A7-6 | ACH550-BDR-03A9-6 | ACH550-BDR-06A1-6 | ACH550-BDR-09A0-6 | ACH550-BDR-011A-6 | ACH550-BDR-017A-6 | ACH550-BDR-022A-6 | ACH550-BDR-027A-6 | ACH550-BDR-032A-6 | ACH550-BDR-041A-6 | ACH550-BDR-052A-6 | ACH550-BDR-062A-6 | ACH550-BDR-077A-6 | ACH550-BDR-099A-6 | ACH550-BDR-125A-6 | ACH550-BDR-144A-6 |  | System Quantity | Sparing Level | Recommended Quantity | Requested Quantity | Unit Price (Please refer to cBOL for current pricing) | Extended Price
99 |  |  | Drive Quantity -> | xxxDrive Quantity -> | [109 empty] | <- Drive Quantityxxx |  | 3
Common Parts between both Designs
Control Board
2 | 3AUA0000034480 | ACX550-SP-Encl+SP630/1 Control-Bypass (RBCU) | Common |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | 2 | 0 | 0 | 0 | 0
| Cable |  | Common
11 | 3AUA0000015967 | CABLE, RS-485, B1-B2-B3 | Common |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000015070 | Cable, CAT5, patch, 90 straight, 1085mm | Common |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000004153 | Cable, Cat 5 patch, Straight, 10ft | Common | [35 empty] | 1 | 1 | 1 | 1 | [51 empty] | 1 | 1 | 1 | 1 | [17 empty] | 0 | NR | 0 | 0 | 0 | 0
| RCTR Assemblies |  | Common
10 | 3AUA0000014825 | Assembly, RCTR 1 | Common |  | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | [17 empty] | 1 | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | [17 empty] | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 3 | 0 | 0 | 0 | 0
10 | 3AUA0000015013 | ASSEMBLY, RCTR 2 | Common | [5 empty] | 1 | 1 | [15 empty] | 1 | 1 | [20 empty] | 1 | [15 empty] | 1 | 1 | [15 empty] | 1 | 1 | [20 empty] | 1 | [11 empty] | 0 | 3 | 0 | 0 | 0 | 0
| RRES Assemblies |  | Common
10 | 3AUA0000015046 | ASSEMBLY, RRES-01, 200:5,300:5 CT BURDEN | Common | [11 empty] | 2 | 2 | 2 | 2 | [15 empty] | 2 | 2 | 2 | 2 | [17 empty] | 2 | 2 | 2 | 2 | [11 empty] | 2 | 2 | 2 | 2 | [15 empty] | 2 | 2 | 2 | 2 | [17 empty] | 2 | 2 | 2 | 2 |  | 0 | 3 | 0 | 0 | 0 | 0
10 | 3AUA0000015047 | ASSEMBLY, RRES-02, 500:5A CT BURDEN | Common | [15 empty] | 2 | 2 | [17 empty] | 2 | 2 | 2 | 2 | 2 | [31 empty] | 2 | 2 | [17 empty] | 2 | 2 | 2 | 2 | 2 | [17 empty] | 0 | 3 | 0 | 0 | 0 | 0
| RRAF Assemblies |  | Common
11 | 3AUA0000019979 | Assembly, RRAF | Common | [35 empty] | 1 | 1 | 1 | 1 | [51 empty] | 1 | 1 | 1 | 1 | [17 empty] | 0 | NR | 0 | 0 | 0 | 0
| CT Assemblies |  | Common
10 | 3AUA0000014832 | Assembly, 25A CT | Common |  | 1 | 1 | 1 | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [15 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [11 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [15 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [11 empty] | 0 | 3 | 0 | 0 | 0 | 0
10 | 3AUA0000014833 | Assembly, 75A CT | Common | [7 empty] | 1 | 1 | 1 | 1 | [13 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [15 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [11 empty] | 1 | 1 | 1 | 1 | [13 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [15 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 0 | 3 | 0 | 0 | 0 | 0
10 | 3AUA476001B24 | TRANSFORMER,CURRENT 200:5 | Common | [11 empty] | 2 | 2 | [17 empty] | 2 | 2 | [19 empty] | 2 | 2 | 2 | [12 empty] | 2 | 2 | [17 empty] | 2 | 2 | [19 empty] | 2 | 2 | 2 |  |  | 0 | 3 | 0 | 0 | 0 | 0
10 | 3AUA0000004443 | TRANSFORMER, CURRENT 300:5 | Common | [13 empty] | 2 | 2 | [17 empty] | 2 | 2 | [20 empty] | 2 | [13 empty] | 2 | 2 | [17 empty] | 2 | 2 | [20 empty] | 2 |  | 0 | 3 | 0 | 0 | 0 | 0
10 | 3AUA476001B25 | TRANSFORMER,CURRENT 500:5 | Common | [15 empty] | 2 | 2 | [17 empty] | 2 | 2 | 2 | 2 | 2 | [31 empty] | 2 | 2 | [17 empty] | 2 | 2 | 2 | 2 | 2 | [17 empty] | 0 | 3 | 0 | 0 | 0 | 0
| Transformer |  | Common
11 | 3AUA0000019997 | Transformer, 500VA, 380-500V/115V | Common | [35 empty] | 1 | 1 | 1 | 1 | [51 empty] | 1 | 1 | 1 | 1 | [17 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA567999Z27 | Transformer Fuse,T DELAY,250V,5-6/10A | Common | [35 empty] | 1 | 1 | 1 | 1 | [51 empty] | 1 | 1 | 1 | 1 | [17 empty] | 0 | NR | 0 | 0 | 0 | 0
| Terminal Blk |  | Common
11 | 3AUA0000025549 | Terminal Block, 3P, 600V, 85A | Common | [7 empty] | 1 | [16 empty] | 1 | 1 | 1 | [18 empty] | 1 | 1 | [15 empty] | 1 | [16 empty] | 1 | 1 | 1 | [18 empty] | 1 | 1 | [9 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA266001B144 | TERMINAL BLOCK,3P,175A | Common | [8 empty] | 1 | 1 | 1 | [16 empty] | 1 | 1 | 1 | [17 empty] | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | [16 empty] | 1 | 1 | 1 | [17 empty] | 1 | 1 | 1 | 1 | [5 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000007043 | Terminal Block, A110 Contactor | Common | [11 empty] | 2 | [18 empty] | 2 | [20 empty] | 2 | 2 | [13 empty] | 1 | [18 empty] | 1 | [20 empty] | 1 | 1 |  |  |  | 0 | NR | 0 | 0 | 0 | 0
| Enclosure Fans |  | Common
5 | 3AUA0000139152 | ACH550 -BxR B1/2 Stirring Fan kit | Common |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 0 | 1 | 0 | 0 | 0 | 0
5 | 3AUA0000139153 | ACH550-BxR B3/4 Stirring Fan Kit | Common | [11 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [13 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1 | [11 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [13 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1 |  | 0 | 1 | 0 | 0 | 0 | 0
| Options | [117 empty] | 0
| The yellow sections below are parts associated with certain plus code options. Only select these parts if the plus codes are listed in the units type code. Please fill in the needed quantity in the "Requested Quantity" column. |  | Common
| Option +B055, Nema 12 Enclosure |  | Common
7 | 3AUA0000139152 | ACH550 -BxR B1/2 Stirring Fan kit | Common |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000139153 | ACH550-BxR B3/4 Stirring Fan Kit | Common | [11 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [13 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1 | [11 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [13 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1 |  | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000003983 | GASKET, ACX550 panel holder | Common |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000014905 | ASSEMBLY, BEZEL TYPE 12 | Common |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | PCS | 0 | 0 | 0 | 0
| Option +B058, Nema 3R Enclosure |  | Common
7 | 3AUA0000139154 | ACH550-BxR +B058 Stirring Fan Kit | Common |  | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | [6 empty] | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | [9 empty] | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | [6 empty] | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | [9 empty] | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000139153 | ACH550-BxR B3/4 Stirring Fan Kit | Common | [7 empty] | 1 | 1 | 1 | 1 | [13 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [15 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [11 empty] | 1 | 1 | 1 | 1 | [13 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [15 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000047523 | Heater, 50W 120V | Common |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000003983 | GASKET, ACX550 panel holder | Common |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000014905 | ASSEMBLY, BEZEL TYPE 12 | Common |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000048829 | Assembly, RHTR | Common |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | PCS | 0 | 0 | 0 | 0
| Parts that can only be used in classic Design |  | Classic
| Contactor-Bypass |  | Classic
9 | 3AUA0000014844 | Contactor, 3P, 600V, 11A/25A, A12-30-10-84 | Classic |  | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | [89 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000014846 | Contactor, 3P, 600V, 28A/40A, A26-30-10-84 | Classic | [5 empty] | 1 | 1 | [15 empty] | 1 | 1 | [15 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [66 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000014847 | Contactor,3P,600V,42A/60A - A40-30-10-84 | Classic | [7 empty] | 1 | [16 empty] | 1 | 1 | 1 | [18 empty] | 1 | 1 | [64 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000014850 | Contactor, 3P, 600V, 80A/105A, A75-30-00-84 | Classic | [8 empty] | 1 | 1 | 1 | [17 empty] | 1 | 1 | [17 empty] | 1 | 1 | 1 | 1 | [60 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000019449 | Contactor, 95A/125A, 600V, 3P, 115VAC, A95-30-00-84 | Classic | [11 empty] | 1 | [39 empty] | 1 | [59 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000019450 | Contactor, 110A/140A, 600V, 3P, 115VAC, A110-30-00-84 | Classic | [30 empty] | 1 | [21 empty] | 1 | [58 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000019451 | Contactor, 130A/230A, 600V, 3P, 115VAC, A145-30-00-84 | Classic | [12 empty] | 1 | [18 empty] | 1 | [21 empty] | 1 | [57 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000019452 | Contactor, 156A/250A, 600V, 3P, 115VAC, A185-30-00-84 | Classic | [13 empty] | 1 | [18 empty] | 1 | [21 empty] | 1 | [56 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000019453 | Contactor, 192A/300A, 600V, 3P, 115VAC, A210-30-00-84 | Classic | [14 empty] | 1 | [18 empty] | 1 | [77 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000019454 | Contactor, 248A/350A, 600V, 3P, 115VAC, A260-30-00-84 | Classic | [15 empty] | 1 | 1 | [17 empty] | 1 | [76 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000004888 | CONTACTOR, 460A, 600V, 3P, 100-250VAC/DC, AF460-30-11-70 | Classic | [35 empty] | 1 | 1 | 1 | 1 | [72 empty] | 0 | 3 | 0 | 0 | 0 | 0
| Contactor-Drive |  | Classic
9 | 3AUA0000014843 | Contactor, 3P, 600V, 9A/21A, A9-30-10-84 | Classic |  | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | [89 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000014844 | Contactor, 3P, 600V, 11A/25A, A12-30-10-84 | Classic | [5 empty] | 1 | 1 | [15 empty] | 1 | 1 | [15 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [66 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000014857 | Contactor, 3P, 600V, 34A/50A, A30-30-10-84 | Classic | [7 empty] | 1 | [16 empty] | 1 | 1 | 1 | [18 empty] | 1 | 1 | [64 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000014848 | Contactor, 3P, 600V, 45A/80A, A50-30-00-84 | Classic | [8 empty] | 1 | 1 | 1 | [16 empty] | 1 | 1 | 1 | [17 empty] | 1 | 1 | 1 | 1 | [60 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000019449 | Contactor, 95A/125A, 600V, 3P, 115VAC, A95-30-00-84 | Classic | [11 empty] | 1 | 1 | [17 empty] | 1 | 1 | [19 empty] | 1 | 1 | 1 | [57 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000019451 | Contactor, 130A/230A, 600V, 3P, 115VAC, A145-30-00-84 | Classic | [13 empty] | 1 | 1 | 1 | [16 empty] | 1 | 1 | [20 empty] | 1 | [56 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000019452 | Contactor, 156A/250A, 600V, 3P, 115VAC, A185-30-00-84 | Classic | [16 empty] | 1 | [17 empty] | 1 | [76 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000004886 | CONTACTOR, 400A, 600V, 3P, 100-250VAC/DC, AF400-30-11-70 | Classic | [35 empty] | 1 | 1 | 1 | 1 | [72 empty] | 0 | 3 | 0 | 0 | 0 | 0
| Contactor Panel-Complete Assemblies |  | Classic
12 | 3AUA0000014826 | Assembly, Contactor, RCSA-011 | Classic |  | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | [89 empty] | 0 | NR | 0 | 0 | 0 | 0
12 | 3AUA0000014829 | Assembly, Contactor, RCSA-021 | Classic | [5 empty] | 1 | 1 | [15 empty] | 1 | 1 | [15 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [66 empty] | 0 | NR | 0 | 0 | 0 | 0
12 | 3AUA0000014830 | Assembly, Contactor,RCSA-031 | Classic | [7 empty] | 1 | [16 empty] | 1 | 1 | 1 | [18 empty] | 1 | 1 | [64 empty] | 0 | NR | 0 | 0 | 0 | 0
12 | 3AUA0000014831 | Assembly, Contactor, RCSA-041 | Classic | [8 empty] | 1 | 1 | 1 | [16 empty] | 1 | 1 | 1 | [17 empty] | 1 | 1 | 1 | 1 | [60 empty] | 0 | NR | 0 | 0 | 0 | 0
| Disconnect Switches |  | Classic
9 | 3AUA0000049775 | DISCONNECT SWITCH, 40A,600V, 3P | Classic |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [86 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000049776 | DISCONNECT SWITCH, 80A,600V, 3P | Classic | [8 empty] | 1 | 1 | [15 empty] | 1 | 1 | 1 | [11 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [66 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000049777 | DISCONNECT SWITCH, 100A,600V, 3P | Classic | [10 empty] | 1 | [17 empty] | 1 | [16 empty] | 1 | 1 | 1 | 1 | 1 | [61 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000016618 | DISCONNECT SWITCH, 125A,600V,60HP@480V | Classic | [11 empty] | 1 | [17 empty] | 1 | 1 | [19 empty] | 1 | 1 | 1 | [58 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000019627 | Disconnect Switch, 200A, 600V, 3P | Classic | [12 empty] | 1 | 1 | 1 | [16 empty] | 1 | 1 | 1 | [19 empty] | 1 | 1 | [56 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000019631 | Switch, Molded Case 400A,3P, T5H-D | Classic | [15 empty] | 1 | 1 | [17 empty] | 1 | [76 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000109909 | SWITCH, MOLDED CASE 800A 3P T6H-D | Classic | [35 empty] | 1 | 1 | 1 | 1 | [72 empty] | 0 | 3 | 0 | 0 | 0 | 0
| Cable Lugs |  | Classic
9 | 3AUA0000020035 | Cable Lug, #4-300kcmil-OT200, 3pcs | Classic | [12 empty] | 1 | 1 | 1 | [16 empty] | 1 | 1 | 1 | [19 empty] | 1 | 1 | [56 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000019795 | Cable Lug(2)4-500MCM-Kt3Pc-ATK300/2 | Classic | [15 empty] | 1 | 1 | [17 empty] | 1 | [76 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000113702 | Cable Lug,T5(2)3/0-500Kcmil,630A,kit3pcs | Classic | [15 empty] | 1 | 1 | [17 empty] | 1 | [76 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | K6TH | LUG KIT FOR S6, T6 500-250MCM 3L | Classic | [35 empty] | 1 | 1 | 1 | 1 | [72 empty] | 0 | 3 | 0 | 0 | 0 | 0
| Rotary Mechanism |  | Classic
9 | 3AUA0000009766 | MECHANISM, CIRCUIT BREAKER T4 | Classic | [15 empty] | 1 | 1 | [17 empty] | 1 | [76 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000109000 | MECHANISM, CIRCUIT BREAKER T6 | Classic | [35 empty] | 1 | 1 | 1 | 1 | [72 empty] | 0 | 3 | 0 | 0 | 0 | 0
| Handle |  | Classic
11 | 3AUA0000018081 | Handle, OHB65J6B 6mm Shaft w/Reset | Classic |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [60 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | OHB95J10 | Pistol Handle 10mmx95mm | Classic | [11 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [13 empty] | 1 | 1 | 1 | 1 | 1 | [16 empty] | 1 | 1 | 1 | 1 | [56 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | OHB175J10 | Piston Handle 175MM for 10MM shaft | Classic | [35 empty] | 1 | 1 | 1 | 1 | [72 empty] | 0 | NR | 0 | 0 | 0 | 0
| Shaft |  | Classic
11 | OHB65J6 | HANDLE,OHB65J6 | Classic |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [56 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | OHB95J10 | Pistol Handle 10mmx95mm | Classic | [15 empty] | 1 | 1 | [17 empty] | 1 | [76 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | OHB175J10 | Piston Handle 175MM for 10MM shaft | Classic | [35 empty] | 1 | 1 | 1 | 1 | [72 empty] | 0 | NR | 0 | 0 | 0 | 0
| Fuse |  | Classic
1 | 3AUA0000015604 | FUSE, 15A, 600V, CLASS CC, REJ KTK-R-15 | Classic |  | 3 | 3 | 3 | 3 | [12 empty] | 3 | 3 | 3 | 3 | 3 | [89 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000015605 | FUSE, 30A, 600V, CLASS CC, REJ KTK-R-30 | Classic | [5 empty] | 3 | 3 | [15 empty] | 3 | 3 | [15 empty] | 3 | 3 | 3 | 3 | 3 | 3 | [66 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000015606 | FUSE, 60A, 600V, CLASS T, REJECTION, JJS-60 | Classic | [7 empty] | 3 | [16 empty] | 3 | 3 | 3 | [18 empty] | 3 | 3 | [64 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000015607 | FUSE, 100A, 600V, CLASS T, REJ JJS-100 | Classic | [8 empty] | 3 | 3 | 3 | [16 empty] | 3 | 3 | 3 | [17 empty] | 3 | 3 | 3 | 3 | [60 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA567002A23 | FUSE,200A,690V,170M1370 | Classic | [11 empty] | 3 | 3 | 3 | [16 empty] | 3 | 3 | 3 | [18 empty] | 3 | 3 | 3 | 3 | [56 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000004429 | FUSE, 315A, 690V, 170M1372 | Classic | [14 empty] | 3 | 3 | 3 | [16 empty] | 3 | 3 | [76 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 64690647 | FUSE400A 600V Class , JJS-400 | Classic | [35 empty] | 3 | 3 | [74 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000005225 | FUSE,600A,600V,Class T, JJS-600 | Classic | [37 empty] | 3 | 3 | [72 empty] | 0 | 1 | 0 | 0 | 0 | 0
| Service Switch | Only used on units with F267 plus code | Classic
7 | 3AUA0000049775 | DISCONNECT SWITCH, 40A,600V, 3P (+F267) | Classic |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [14 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [64 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000049776 | DISCONNECT SWITCH, 80A,600V, 3P (+F267) | Classic | [8 empty] | 1 | 1 | [15 empty] | 1 | 1 | 1 | [19 empty] | 1 | 1 | 1 | 1 | [60 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000049777 | DISCONNECT SWITCH, 100A,600V, 3P (+F267) | Classic | [10 empty] | 1 | [17 empty] | 1 | 1 | [81 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000016618 | DISCONNECT SWITCH, 125A,600V,60HP@480V | Classic | [11 empty] | 1 | 1 | [17 empty] | 1 | 1 | [19 empty] | 1 | 1 | 1 | [57 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000014378 | SWITCH, MOLDED CASE 225A 3P T3S-D | Classic | [13 empty] | 1 | 1 | [17 empty] | 1 | 1 | [20 empty] | 1 | [56 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000019631 | Switch, Molded Case 400A,3P, T5H-D | Classic | [15 empty] | 1 | 1 | [17 empty] | 1 | [76 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000109909 | SWITCH, MOLDED CASE 800A 3P T6H-D | Classic | [35 empty] | 1 | 1 | 1 | 1 | [72 empty] | 0 | PCS | 0 | 0 | 0 | 0
| Parts that can only be used in new Design |  | New
| Contactor-Bypass |  | New
9 | 3AXD50000017472 | CONTACTOR AX12-30-10-84 | New | [56 empty] | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | [17 empty] | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000017473 | CONTACTOR AX25-30-10-84 | New | [99 empty] | 1 | [11 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000017475 | CONTACTOR AX40-30-10-84 | New | [60 empty] | 1 | 1 | 1 | [14 empty] | 1 | 1 | 1 | 1 | 1 | [18 empty] | 1 | 1 | 1 | 1 | [7 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000017477 | CONTACTOR,AX80-30-00-84 | New | [63 empty] | 1 | 1 | 1 | [16 empty] | 1 | 1 | 1 | [19 empty] | 1 | 1 | [5 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000050113 | CONTACTOR, AX150-30-11-84 | New | [66 empty] | 1 | [18 empty] | 1 | [20 empty] | 1 | 1 |  |  |  | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000050114 | CONTACTOR, AX185-30-11-84 | New | [67 empty] | 1 | [18 empty] | 1 | [21 empty] | 1 |  |  | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000050115 | CONTACTOR, AX205-30-11-84 | New | [68 empty] | 1 | 1 | [17 empty] | 1 | 1 | [20 empty] | 1 |  | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000050116 | CONTACTOR, AF265-30-00-97 | New | [70 empty] | 1 | 1 | [17 empty] | 1 | [21 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000004888 | CONTACTOR, 460A, 600V, 3P, 100-250VAC/DC | New | [90 empty] | 1 | 1 | 1 | 1 | [17 empty] | 0 | 3 | 0 | 0 | 0 | 0
| Contactor-Drive |  | New
9 | 3AXD50000017471 | CONTACTOR AX09-30-10-84 | New | [56 empty] | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | [17 empty] | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000017472 | CONTACTOR AX12-30-10-84 | New | [60 empty] | 1 | 1 | [15 empty] | 1 | 1 | [20 empty] | 1 | [11 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000017474 | CONTACTOR AX32-30-10-84 | New | [62 empty] | 1 | [16 empty] | 1 | 1 | 1 | [18 empty] | 1 | 1 | 1 | 1 | [7 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000050428 | CONTACTOR AX50-30-00-84 | New | [63 empty] | 1 | 1 | 1 | [16 empty] | 1 | 1 | 1 | [19 empty] | 1 | 1 | [5 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000017477 | CONTACTOR,AX80-30-00-84 | New | [66 empty] | 1 | [18 empty] | 1 | [20 empty] | 1 | 1 |  |  |  | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000050111 | CONTACTOR,AX95-30-11-84 | New | [67 empty] | 1 | [18 empty] | 1 | [21 empty] | 1 |  |  | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000050113 | CONTACTOR, AX150-30-11-84 | New | [68 empty] | 1 | [40 empty] | 1 |  | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000050114 | CONTACTOR, AX185-30-11-84 | New | [69 empty] | 1 | 1 | [16 empty] | 1 | 1 | 1 | [21 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000050115 | CONTACTOR, AX205-30-11-84 | New | [71 empty] | 1 | [39 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000004886 | CONTACTOR, 400A, 600V, 3P, 100-250VAC/DC | New | [90 empty] | 1 | 1 | 1 | 1 | [17 empty] | 0 | 3 | 0 | 0 | 0 | 0
| Contactor Panel-Complete Assemblies |  | New
12 | 3AXD50000046151 | ASSEMBLY KIT,HCSA-1-1,KTK-15A | New | [56 empty] | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 | 1 | 1 | [17 empty] | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | NR | 0 | 0 | 0 | 0
12 | 3AXD50000046111 | ASSEMBLY KIT,HCSA-2-1,KTK-30A | New | [99 empty] | 1 | [11 empty] | 0 | NR | 0 | 0 | 0 | 0
12 | 3AXD50000102426 | ASSEMBLY KIT,HCSA-2-2,KTK-30A | New | [60 empty] | 1 | 1 | [15 empty] | 1 | 1 | [32 empty] | 0 | NR | 0 | 0 | 0 | 0
12 | 3AXD50000046722 | ASSEMBLY KIT,HCSA-3-1,31-60A Block | New | [62 empty] | 1 | [16 empty] | 1 | 1 | 1 | [18 empty] | 1 | 1 | 1 | 1 | [7 empty] | 0 | NR | 0 | 0 | 0 | 0
12 | 3AXD50000218653 | ASSEMBLY KIT,HCSA-4-1 | New | [63 empty] | 1 | 1 | 1 | [16 empty] | 1 | 1 | 1 | [19 empty] | 1 | 1 | [5 empty] | 0 | NR | 0 | 0 | 0 | 0
| Disconnect Switches |  | New
9 | 3AXD50000049831 | DISCONNECT SWITCH OT30F3, 30A, 600V, 3P | New | [56 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [14 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [8 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000049832 | DISCONNECT SWITCH OT60F3, 60A, 600V, 3P | New | [62 empty] | 1 | [17 empty] | 1 | 1 | [29 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000049777 | DISCONNECT SWITCH, 100A,600V, 3P | New | [63 empty] | 1 | 1 | [17 empty] | 1 | 1 | [19 empty] | 1 | 1 | [6 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000283866 | DISCONNECT,600V,125A,42kA,XT2V-D | New | [105 empty] | 1 | [5 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000139828 | ASSEMBLY KIT,XT2D 125A FIXED 3P 100KA | New | [65 empty] | 1 | [18 empty] | 1 | [26 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000019627 | Disconnect Switch, 200A, 600V, 3P | New | [66 empty] | 1 | 1 | 1 | 1 | [15 empty] | 1 | 1 | 1 | 1 | [17 empty] | 1 | 1 | 1 | 1 |  | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000019631 | Switch, Molded Case 400A,3P, T5H-D | New | [70 empty] | 1 | 1 | [17 empty] | 1 | [21 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000109909 | SWITCH, MOLDED CASE 800A 3P T6H-D | New | [90 empty] | 1 | 1 | 1 | 1 | [17 empty] | 0 | 3 | 0 | 0 | 0 | 0
| Cable Lugs |  | New
9 | 3AUA264001A6 | LUG, TERMINAL 1POLE SM. | New | [62 empty] | 2 | 2 | 2 | 2 | [13 empty] | 2 | 2 | 2 | 2 | 2 | 2 | [15 empty] | 2 | 2 | 2 | 2 | 2 | 2 | [5 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000020035 | Cable Lug, #4-300kcmil-OT200, 3pcs | New | [66 empty] | 2 | 1 | 1 | 1 | [15 empty] | 2 | 1 | 1 | 1 | [17 empty] | 2 | 2 | 1 | 1 |  | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA264001A3 | LUG, TERMINAL 1POLE LG. | New | [66 empty] | 2 | 2 | 2 | 2 | 2 | 2 | [13 empty] | 2 | 2 | 2 | 2 | 2 | [16 empty] | 2 | 2 | 2 | 2 |  | 0 | 3 | 0 | 0 | 0 | 0
9 | ATK185 | LUGS,A/F145-185,1W,4-300MCM/ATK185 | New | [67 empty] | 1 | 1 | [17 empty] | 1 | 1 | [20 empty] | 1 | 1 |  | 0 | 3 | 0 | 0 | 0 | 0
9 | ATK300 | LUGS,A/F210-300,1W,4-400MCM/ATK300 | New | [69 empty] | 1 | [18 empty] | 1 | [22 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000019795 | Cable Lug(2)4-500MCM-Kt3Pc-ATK300/2 | New | [70 empty] | 1 | 1 | [17 empty] | 1 | [21 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000113702 | Cable Lug,T5(2)3/0-500Kcmil,630A,kit3pcs | New | [70 empty] | 2 | 2 | [17 empty] | 2 | [21 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | K6TH | LUG KIT FOR S6, T6 500-250MCM 3L | New | [90 empty] | 1 | 1 | 1 | 1 | [17 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000005798 | LUG, CUSTOMER CONNECT | New | [90 empty] | 1 | 1 | 1 | 1 | [17 empty] | 0 | 3 | 0 | 0 | 0 | 0
| Fuse |  | New
1 | 3AUA0000015604 | FUSE, 15A, 600V, CLASS CC, REJ KTK-R-15 | New | [56 empty] | 3 | 3 | 3 | 3 | [12 empty] | 3 | 3 | 3 | 3 | 3 | [17 empty] | 3 | 3 | 3 | 3 | 3 | [12 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000015605 | FUSE, 30A, 600V, CLASS CC, REJ KTK-R-30 | New | [60 empty] | 3 | 3 | [15 empty] | 3 | 3 | [20 empty] | 3 | [11 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000147985 | FUSE,40A,600VAC(T),VFAST ACTING, JJS-40 | New | [62 empty] | 3 | [16 empty] | 3 | [20 empty] | 3 | 3 | 3 | [8 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000147986 | FUSE,50A,600VAC(T),VFAST ACTING, JJS-50 | New | [103 empty] | 3 | [7 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000015606 | FUSE, 60A, 600V, CLASS T, REJECTION, JJS-60 | New | [80 empty] | 3 | 3 | [29 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | BG56720003-15 | FUSE,80A,600V,Class T, JJS-80 | New | [63 empty] | 3 | 3 | [17 empty] | 3 | [21 empty] | 3 | 3 | [5 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | BG56720003-16 | FUSE,90A,600V,JJS-90 | New | [83 empty] | 3 | [27 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000015607 | FUSE, 100A, 600V, CLASS T, REJ JJS-100 | New | [65 empty] | 3 | [18 empty] | 3 | [26 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AXD50000050511 | FUSE,JJS-110,600V | New | [66 empty] | 3 | [39 empty] | 3 |  |  |  |  | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000147989 | FUSE,150A,600VAC(T),VFAST ACTING | New | [67 empty] | 3 | [17 empty] | 3 | [21 empty] | 3 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AXD50000050512 | FUSE,JJS-175, 600V | New | [108 empty] | 3 |  |  | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000147990 | FUSE,JJS-200,200A,600VAC(T),VFAST ACTING | New | [68 empty] | 3 | [17 empty] | 3 | [22 empty] | 3 |  | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000142381 | FUSE,225A,600VAC(T)92X25,VFAST,BLH | New | [87 empty] | 3 | [23 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AXD50000050513 | FUSE,JJS-250,600V | New | [69 empty] | 3 | [41 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AXD50000050514 | FUSE,JJS-300,600V | New | [70 empty] | 3 | [17 empty] | 3 | [22 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000145948 | FUSE,350A,600VAC(T),VFAST,BLH | New | [71 empty] | 3 | [17 empty] | 3 | [21 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 64690647 | FUSE400A 600V Class T | New | [90 empty] | 3 | 3 | [19 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000005225 | FUSE,600A,600V,Class T | New | [92 empty] | 3 | 3 | [17 empty] | 0 | 1 | 0 | 0 | 0 | 0
| Handle |  | New
11 | OHB65J6 | HANDLE,OHB65J6 | New | [56 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | [5 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 |  | 0 | NR | 0 | 0 | 0 | 0
11 | 68577586 | HANDLE,OHB65J10 | New | [65 empty] | 1 | [18 empty] | 1 | [20 empty] | 1 | [5 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000145952 | PISTOL HANDLE, 95mm, OHB95J10 | New | [70 empty] | 1 | 1 | [17 empty] | 1 | [21 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | OHB175J10 | Piston Handle 175MM for 10MM shaft | New | [90 empty] | 1 | 1 | 1 | 1 | [17 empty] | 0 | NR | 0 | 0 | 0 | 0
| Shaft |  | New
11 | 3AXD50000144907 | SHAFT, STEEL, 6MM X 6MM x 188mm | New | [56 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [15 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [11 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000049892 | SHAFT, STEEL,6MM X 6MM X 193MM | New | [62 empty] | 1 | 1 | 1 | [14 empty] | 1 | 1 | 1 | 1 | 1 | [16 empty] | 1 | 1 | 1 | 1 | 1 | [6 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AXD50000110810 | SHAFT, STEEL,10MM X 10MM x103MM | New | [65 empty] | 1 | [18 empty] | 1 | [20 empty] | 1 | [5 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | OXP10X225 | Shaft, 8.9inlong, for T4 circuit breaker | New | [65 empty] | 1 | [18 empty] | 1 | [5 empty] | 1 | 1 | 1 | 1 | [11 empty] | 1 | [5 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000049889 | SHAFT, STEEL, 6MM X 6MM X 205MM | New | [66 empty] | 1 | 1 | 1 | 1 | [15 empty] | 1 | 1 | 1 | 1 | [17 empty] | 1 | 1 | 1 | 1 |  | 0 | NR | 0 | 0 | 0 | 0
11 | 3AXD50000049834 | SHAFT, STEEL, 10MM X 10MM X 50MM | New | [70 empty] | 1 | 1 | [17 empty] | 1 | [21 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | OXP10X77 | CB SHAFT, 77MM | New | [70 empty] | 1 | 1 | [17 empty] | 1 | [21 empty] | 0 | NR | 0 | 0 | 0 | 0
| Service Switch | Only used on units with F267 plus code | New
7 | 3AXD50000049831 | DISCONNECT SWITCH OT30F3, 30A, 600V, 3P | New | [56 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [15 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [10 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AXD50000049832 | DISCONNECT SWITCH OT60F3, 60A, 600V, 3P | New | [62 empty] | 1 | 1 | [15 empty] | 1 | 1 | 1 | 1 | [18 empty] | 1 | 1 | 1 | 1 | [6 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000049777 | DISCONNECT SWITCH, 100A,600V, 3P | New | [64 empty] | 1 | 1 | [17 empty] | 1 | 1 | [20 empty] | 1 | [5 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AXD50000140640 | ASSEMBLY KIT,XT3D 225A FIXED 3P | New | [66 empty] | 1 | 1 | 1 | 1 | [15 empty] | 1 | 1 | 1 | 1 | [22 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000019627 | Disconnect Switch, 200A, 600V, 3P | New | [106 empty] | 1 | 1 | 1 | 1 |  | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000019631 | Switch, Molded Case 400A,3P, T5H-D | New | [70 empty] | 1 | 1 | [17 empty] | 1 | [21 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000109909 | SWITCH, MOLDED CASE 800A 3P T6H-D | New | [90 empty] | 1 | 1 | 1 | 1 | [17 empty] | 0 | PCS | 0 | 0 | 0 | 0
| Notes: | [117 empty] | Total: | 0
1) ABB Standard Terms and Conditions Apply
Note on DM5: Select General Sparing Level: 1 = Basic 2 = Moderate 3 = Comprehensive Notes: NR = Not considered a Recommend Spares. You will need to adjust the quantity in the "Requested Quantity" column if this part is needed. PCS = Plus Code Spare. These items are only used on units with certain plus codes. You will need to adjust the quantity in the "Requested Quantity" column if this part is needed.
Note on DO5: Scan down the "Requested Quantity" column, changing quantities as you see fit. If you see items you need and it has a sparing level identified as NR or PCS, you will need to adjust the requested quantities for these.
If you have any questions, please contact Technical Support at 1-800-752-0696 opt. 1, opt. 1 or US-drivessupport@abb.com

## Quote Information
Basic Project Information
Proposal offered by {You}: | Dave Schneider
Proposal offered by {Company}: | ABB Inc.
Proposal offered by {Department}: | Drive Services
Proposal Date: | 2026-07-29
Client Project Reference No.:
Project Description: | ACH550-BDR Recommended Spares
Proposal Type: | 0
Client Company:
Client Location (City):
Client Location (ST):
Note on B2: If this default is wrong, change MSExcel Tools -> Options -> General -> User Name
Generate Proposal Worksheet

## Recommendation Criteria (hidden)
Recommendation Criteria:
Sparing Category Description | Sparing Category Number | Default Quantity | per System Quantity | Minimum Quantity | Sparing Level
Fuses | 1 | 3 | 6 | 6 | 1
Circuit Boards, Modules | 2 | 1 | 10 | 1 | 2
Semiconductors | 3 | 1 | 6 | 3 | 3
Electrolytic Bus Capacitors | 4 | 1 | 10 | 1 | 3
Fans | 5 | 1 | 10 | 1 | 1
Electrical Components | 6 | 1 | 10 | 1 | 2
Fiber Optics | 7 | 0 | 10 | 1 | PCS
Small Contactors, Relays, Terminal Strips | 8 | 1 | 10 | 1 | 2
Large Switches and Contactors | 9 | 1 | 10 | 1 | 3
Inductors, transformers | 10 | 1 | 20 | 1 | 3
Mechanical hardware | 11 | 0 | 20 | 0 | NR
Options/Special/Custom | 12 | 0 | 10 | 0 | NR