## Instructions
Spares Proposal Matrix Instructions & Tips
The Proposal Matrix file for each drive type contains a macro and configuration for easily creating a customer proposal for new drive spares. If you need more complete information, including spares for older revisions of drives, contact our Drives Proposal Team at sales.drives.services@us.abb.com or call 1-800-752-0696 chose option for Drives, then option for spare parts and repairs.
This Proposal Matrix workbook contains the following worksheets:
1) Instructions: This worksheet.
2) ACH550-VDR Spares: The new drive spares matrix and drive quantity input
3) Quote Information: "Generate Proposal Worksheet" pushbutton. User and quotation information which will show in the header and footer of the quotation worksheet.
MSExcel2003 Settings:
Prior to opening this workbook, your MSExcel settings should be:
1) Enable MSExcel Macros: Tools►Macro►Security►Security Level►Medium
2) Enable MSExcel Comments: Tools►Options►View ►Comments►Comment indicator only
3) Make sure MSExcel has your name: Tools►Options►General►User name
If your MSExcel options are not set as above, set them that way, close this workbook, then re-open it. When prompted, select "Enable Macros".
MSExcel2007 Settings:
Prior to opening this workbook, your MSExcel settings should be:
Enable MSExcel Macros: Note: See the cell comments to view screen shots
1) ►Click on Office buttom►Click on Excel Options
2) ►Click on Trust Center►Click on Trust Center Settings►Click on Marco Settings►Select Disable all macros with notification ►Close and reopen this Excel file
3) When you reopen the Excel file, you will see prompt called "Security Warning"►Click on Options ►Select "Enable this contents" ►Click Ok
Proposal Matrix Usage:
1) Select the ACH550-VDR spares worksheet.
2) Insert the quantity of each drive rating in the green "Drive Quantity" row, Row 6.
3) Continuing to the right in Row 6, select the spares level - Basic, Moderate, Comprehensive.
4) Scan down the "Requested Quantity" column, changing quantities as you see fit. Example: Some of the items are not considered as recommended spares (NR) or plus code spares (PCS). These are identified has NR and PCS under the Sparing Level coloum. If this item is needed, you'll have to adjust quantities for these.
5) Select the "Quote Information" worksheet.
6) Insert user and quotation information that you want to be inserted into the header and footer of the proposal worksheet.
7) Press the "Generate Proposal Worksheet" pushbutton.
8) Rnnnn worksheet is active.
9) Verify Sparing level and Requested Quantities.
10) Pricing can be added to the worksheet. Please refer to cBOL to look up current pricing,
11) Verify print layout using menu items File►Print Preview and File►Page Setup
12) Save the workbook under your proposal folder using the menu item File.SaveAs…
13) If you want the Rnnnn worksheet as a stand-alone workbook, activate (select) it and use the menu item: Edit►Move or Copy Sheet…►Click "Copy Sheet", select "To Book"=(new book), press OK. Save the new workbook using File►Save As...
Tips:
1) Cells shaded in green are for your data entry.
2) The macro retains your original ACH550-VDR spares worksheet so you can make multiple proposal revisions.
3) Each time it is run, the macro will make a new worksheet with the name Rnnnn, starting with R0001.
4) An item in ACH550-VDR Spares worksheet will not appear in the Rnnnn worksheet if "Requested Quantity" = 0.
5) The Rnnnn worksheet will not respond to changes in drive quantities - change quantities in ACH550-VDR Spares worksheet and rerun macro.
6) The Rnnnn worksheet will respond to changes in Sparing Level, Row 2, for items which you did not customize the "Requested Quantity". For this reason, you may want to customize quantities only in the Rnnnn worksheet.
7) In Quote Information worksheet, the default text in "Proposal offered by {You}" refers to MSExcel: Tools ►Options►General►User name
Notes:
1) If you do not have access to cBOL, please goto abbnow.com to request an account.
2) This file is intended for new drive spares proposals. For existing drives, it is best to provide the S/N and/or model number to Drive Services to insure the correct spare part offerings are provided to you. Please contact Drive Services at 800-752-0692 or sales.drives.services@us.abb.com
3) To view a picture of the item, move the curser over the P/N. Note: Actual item may vary from picture

## ACH550-VDR
ACH550-VDR Recommended Spares
| Template: | DRVSRV-PNPP17U-EN Rev K |  |  | ACH550-VDR Units built prior to 5/1/2018 or < s/n 21817xxxxx (Classic Design) | [34 empty] | ACH550-VDR Units built between 5/1/2018 and 8/1/2018 or s/n 21817xxxxx and 21831xxxxx | ACH550-VDR Units built after 8/1/2018 or > s/n 21831xxxxx (New Design)
[5 empty] | 208/240V | [9 empty] | 380/480 V | [12 empty] | 575/600V | [12 empty] | 208/240V | [9 empty] | 380/480 V | [12 empty] | 575/600V
[5 empty] | V1 |  |  |  |  | V2 | V3 |  |  | V4 | V1 |  |  |  |  | V2 |  | V3 |  |  | V4 |  |  | V2 | [5 empty] | V3 |  | V4 |  |  |  |  | V1 |  |  |  |  | V2 | V3 |  |  | V4 | V1 |  |  |  |  | V2 |  | V3 |  |  | V4 |  |  | V2 | [5 empty] | V3 |  | V4
TRUE | Part Number | Description | Design Rev | Options Every C must have a corresponding U - use neither if no option C=Coated U=Uncoated | ACH550-VDR-04A6-2 | ACH550-VDR-06A6-2 | ACH550-VDR-07A5-2 | ACH550-VDR-012A-2 | ACH550-VDR-017A-2 | ACH550-VDR-024A-2 | ACH550-VDR-031A-2 | ACH550-VDR-046A-2 | ACH550-VDR-059A-2 | ACH550-VDR-075A-2 | ACH550-VDR-03A3-4 | ACH550-VDR-04A1-4 | ACH550-VDR-06A9-4 | ACH550-VDR-08A8-4 | ACH550-VDR-012A-4 | ACH550-VDR-015A-4 | ACH550-VDR-023A-4 | ACH550-VDR-031A-4 | ACH550-VDR-038A-4 | ACH550-VDR-045A-4 | ACH550-VDR-059A-4 | ACH550-VDR-072A-4 | ACH550-VDR-078A-4 | ACH550-VDR-02A7-6 | ACH550-VDR-03A9-6 | ACH550-VDR-06A1-6 | ACH550-VDR-09A0-6 | ACH550-VDR-011A-6 | ACH550-VDR-017A-6 | ACH550-VDR-022A-6 | ACH550-VDR-027A-6 | ACH550-VDR-032A-6 | ACH550-VDR-041A-6 | ACH550-VDR-052A-6 | ACH550-VDR-062A-6 | These will need to be verified by Tech Support | ACH550-VDR-04A6-2 | ACH550-VDR-06A6-2 | ACH550-VDR-07A5-2 | ACH550-VDR-012A-2 | ACH550-VDR-017A-2 | ACH550-VDR-024A-2 | ACH550-VDR-031A-2 | ACH550-VDR-046A-2 | ACH550-VDR-059A-2 | ACH550-VDR-075A-2 | ACH550-VDR-03A3-4 | ACH550-VDR-04A1-4 | ACH550-VDR-06A9-4 | ACH550-VDR-08A8-4 | ACH550-VDR-012A-4 | ACH550-VDR-015A-4 | ACH550-VDR-023A-4 | ACH550-VDR-031A-4 | ACH550-VDR-038A-4 | ACH550-VDR-045A-4 | ACH550-VDR-059A-4 | ACH550-VDR-072A-4 | ACH550-VDR-078A-4 | ACH550-VDR-02A7-6 | ACH550-VDR-03A9-6 | ACH550-VDR-06A1-6 | ACH550-VDR-09A0-6 | ACH550-VDR-011A-6 | ACH550-VDR-017A-6 | ACH550-VDR-022A-6 | ACH550-VDR-027A-6 | ACH550-VDR-032A-6 | ACH550-VDR-041A-6 | ACH550-VDR-052A-6 | ACH550-VDR-062A-6 |  | System Quantity | Sparing Level | Recommended Quantity | Requested Quantity | Unit Price (Please refer to cBOL for current pricing) | Extended Price
99 |  |  | Drive Quantity -> | xxxDrive Quantity -> | [71 empty] | <- Drive Quantityxxx |  | 3
Common Parts between both Designs
Control Board
2 | 3AUA0000034480 | ACX550-SP-Encl+SP630/1 Control-Bypass (RBCU) | Common |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | 2 | 0 | 0 | 0 | 0
| Cable |  | Common
11 | 3AUA0000015963 | CABLE, RS-485, V1 | Common |  | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 | 1 | 1 | 1 | 1 | [21 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000015964 | CABLE, RS-485, V2 | Common | [6 empty] | 1 | 1 | [8 empty] | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | [8 empty] | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000015965 | CABLE, RS-485, V3 | Common | [8 empty] | 1 | 1 | [8 empty] | 1 | 1 | 1 | [9 empty] | 1 | 1 | [12 empty] | 1 | 1 | [8 empty] | 1 | 1 | 1 | [9 empty] | 1 | 1 | [5 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000015966 | CABLE, RS-485, V4 | Common | [10 empty] | 1 | [10 empty] | 1 | 1 | 1 | [8 empty] | 1 | 1 | 1 | 1 | [10 empty] | 1 | [10 empty] | 1 | 1 | 1 | [8 empty] | 1 | 1 | 1 | 1 |  | 0 | NR | 0 | 0 | 0 | 0
| RCTR Assemblies |  | Common
10 | 3AUA0000014825 | Assembly, RCTR 1 | Common |  | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | [21 empty] | 0 | 3 | 0 | 0 | 0 | 0
10 | 3AUA0000015013 | ASSEMBLY, RCTR 2 | Common | [5 empty] | 1 | 1 | [9 empty] | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [11 empty] | 1 | 1 | [9 empty] | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 0 | 3 | 0 | 0 | 0 | 0
| CT Assemblies |  | Common
10 | 3AUA0000014832 | Assembly, 25A CT | Common |  | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 0 | 3 | 0 | 0 | 0 | 0
10 | 3AUA0000014833 | Assembly, 75A CT | Common | [7 empty] | 1 | 1 | 1 | 1 | [7 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1 | 1 | 1 | 1 | [7 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | 3 | 0 | 0 | 0 | 0
| Bypass Cover |  | Common
11 | 3AUA0000014214 | PLASTIC HOUSING, COVER V1-2 | Common |  | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000014385 | PLASTIC HOUSING, COVER V3-4 | Common | [7 empty] | 1 | 1 | 1 | 1 | [7 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1 | 1 | 1 | 1 | [7 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | NR | 0 | 0 | 0 | 0
| Fuse Holders |  | Common
11 | 3AUA0000016636 | FUSEBLOCK, 31-60A, 600VAC, 3P, CLASS T | Common | [7 empty] | 1 | [10 empty] | 1 | 1 | 1 | [9 empty] | 1 | 1 | [11 empty] | 1 | [10 empty] | 1 | 1 | 1 | [9 empty] | 1 | 1 | 1 | 1 |  |  |  | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA567003A95 | FUSE BLK,100A,600VAC,CL T | Common | [8 empty] | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | [8 empty] | 1 | 1 | 1 | 1 | [8 empty] | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | [10 empty] | 1 | 1 |  | 0 | NR | 0 | 0 | 0 | 0
| Terminal Blk |  | Common
11 | 3AUA0000025549 | Terminal Block, 3P, 600V, 85A | Common | [7 empty] | 1 | [10 empty] | 1 | 1 | 1 | [9 empty] | 1 | 1 | [11 empty] | 1 | [10 empty] | 1 | 1 | 1 | [9 empty] | 1 | 1 | [5 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA266001B144 | TERMINAL BLOCK,3P,175A | Common | [8 empty] | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | [8 empty] | 1 | 1 | 1 | 1 | [8 empty] | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | [8 empty] | 1 | 1 | 1 | 1 |  | 0 | NR | 0 | 0 | 0 | 0
| Parts that can only be used in classic design |  | Classic
| Contactor-Bypass |  | Classic
9 | 3AUA0000014844 | Contactor, 3P, 600V, 11A/25A, A12-30-10-84 | Classic |  | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | [57 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000014846 | Contactor, 3P, 600V, 28A/40A, A26-30-10-84 | Classic | [5 empty] | 1 | 1 | [9 empty] | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [43 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000014847 | Contactor,3P,600V,42A/60A - A40-30-10-84 | Classic | [7 empty] | 1 | [10 empty] | 1 | 1 | 1 | [9 empty] | 1 | 1 | [41 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000014850 | Contactor, 3P, 600V, 80A/105A, A75-30-00-84 | Classic | [8 empty] | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | [8 empty] | 1 | 1 | 1 | 1 | [37 empty] | 0 | 3 | 0 | 0 | 0 | 0
| Contactor-Drive |  | Classic
9 | 3AUA0000014843 | Contactor, 3P, 600V, 9A/21A, A9-30-10-84 | Classic |  | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | [57 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000014844 | Contactor, 3P, 600V, 11A/25A, A12-30-10-84 | Classic | [5 empty] | 1 | 1 | [9 empty] | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [43 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000014857 | Contactor, 3P, 600V, 34A/50A, A30-30-10-84 | Classic | [7 empty] | 1 | [10 empty] | 1 | 1 | 1 | [9 empty] | 1 | 1 | [41 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000014848 | Contactor, 3P, 600V, 45A/80A, A50-30-00-84 | Classic | [8 empty] | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | [8 empty] | 1 | 1 | 1 | 1 | [37 empty] | 0 | 3 | 0 | 0 | 0 | 0
| Contactor Panel-Complete Assemblies |  | Classic
9 | 3AUA0000014826 | Assembly, Contactor, RCSA-011 | Classic |  | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | [57 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000014829 | Assembly, Contactor, RCSA-021 | Classic | [5 empty] | 1 | 1 | [9 empty] | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [43 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000014830 | Assembly, Contactor,RCSA-031 | Classic | [7 empty] | 1 | [10 empty] | 1 | 1 | 1 | [9 empty] | 1 | 1 | [41 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000014831 | Assembly, Contactor, RCSA-041 | Classic | [8 empty] | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | [8 empty] | 1 | 1 | 1 | 1 | [37 empty] | 0 | 3 | 0 | 0 | 0 | 0
| Disconnect Switch |  | Classic
9 | 3AUA0000049775 | DISCONNECT SWITCH, OT40F3, 40A,600V, 3P | Classic |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | [54 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000049776 | DISCONNECT SWITCH, OT80F3, 80A,600V, 3P | Classic | [8 empty] | 1 | 1 | [10 empty] | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | [43 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000049777 | DISCONNECT SWITCH, OT100F3, 100A,600V, 3P | Classic | [10 empty] | 1 | [11 empty] | 1 | [7 empty] | 1 | 1 | 1 | 1 | 1 | [38 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000016618 | DISCONNECT SWITCH, 125A,600V,60HP@480V | Classic | [23 empty] | 1 | [11 empty] | 1 | [37 empty] | 0 | 3 | 0 | 0 | 0 | 0
| Fuse |  | Classic
1 | 3AUA0000015604 | FUSE, 15A, 600V, CLASS CC, REJ KTK-R-15 | Classic |  | 3 | 3 | 3 | 3 | [6 empty] | 3 | 3 | 3 | 3 | 3 | [57 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000015605 | FUSE, 30A, 600V, CLASS CC, REJ KTK-R-30 | Classic | [5 empty] | 3 | 3 | [9 empty] | 3 | 3 | [6 empty] | 3 | 3 | 3 | 3 | 3 | 3 | [43 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000015606 | FUSE, 60A, 600V, CLASS T, REJECTION | Classic | [7 empty] | 3 | [10 empty] | 3 | 3 | 3 | [9 empty] | 3 | 3 | [41 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000015607 | FUSE, 100A, 600V, CLASS T, REJ JJS-100 | Classic | [8 empty] | 3 | 3 | 3 | [10 empty] | 3 | 3 | 3 | [8 empty] | 3 | 3 | 3 | 3 | [37 empty] | 0 | 1 | 0 | 0 | 0 | 0
| Handle |  | Classic
11 | OHB65J6 | HANDLE,OHB65J6 | Classic |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [37 empty] | 0 | NR | 0 | 0 | 0 | 0
| Shaft |  | Classic
11 | 3AUA0000018711 | SHAFT, 6MM X 226 | Classic | [23 empty] | 1 | [11 empty] | 1 | [37 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000049883 | SHAFT, 6MM X 184 | Classic |  | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 | 1 | 1 | 1 | 1 | [57 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000049884 | SHAFT, 6MM X 195 | Classic | [6 empty] | 1 | [9 empty] | 1 | 1 | [55 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000049885 | SHAFT, STEEL, 6MM X 6MM X 168MM | Classic | [7 empty] | 1 | [10 empty] | 1 | [54 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000049886 | SHAFT, 6MM X 149 | Classic | [8 empty] | 1 | 1 | [9 empty] | 1 | 1 | [9 empty] | 1 | 1 | [41 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000049887 | SHAFT, 6MM X 181 | Classic | [21 empty] | 1 | [10 empty] | 1 | 1 | [39 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000049888 | SHAFT, STEEL, 6MM X 6MM X 175MM | Classic | [10 empty] | 1 | [11 empty] | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | [38 empty] | 0 | NR | 0 | 0 | 0 | 0
| Service Switch | Only used on units with F267 plus code | Classic
7 | 3AUA0000049775 | DISCONNECT SWITCH, 40A,600V, 3P (+F267) | Classic |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [41 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000049776 | DISCONNECT SWITCH, 80A,600V, 3P (+F267) | Classic | [8 empty] | 1 | 1 | [9 empty] | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | 1 | [37 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000049777 | DISCONNECT SWITCH, 100A,600V, 3P (+F267) | Classic | [10 empty] | 1 | [11 empty] | 1 | 1 | [49 empty] | 0 | PCS | 0 | 0 | 0 | 0
| Parts that can only be used in new design |  | New
| Contactor-Bypass |  | New
9 | 3AXD50000017473 | CONTACTOR AX25-30-10-84 | New | [37 empty] | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [19 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000017475 | CONTACTOR AX40-30-10-84 | New | [43 empty] | 1 | [10 empty] | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000017477 | CONTACTOR,AX80-30-00-84 | New | [44 empty] | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | [10 empty] | 1 | 1 |  | 0 | 3 | 0 | 0 | 0 | 0
| Contactor-Drive |  | New
9 | 3AXD50000017471 | CONTACTOR AX09-30-10-84 | New | [37 empty] | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | [21 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000017472 | CONTACTOR AX12-30-10-84 | New | [41 empty] | 1 | 1 | [9 empty] | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000017474 | CONTACTOR AX32-30-10-84 | New | [43 empty] | 1 | [10 empty] | 1 | 1 | 1 | [9 empty] | 1 | 1 | 1 | 1 |  |  |  | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000050428 | CONTACTOR AX50-30-00-84 | New | [44 empty] | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | [10 empty] | 1 | 1 |  | 0 | 3 | 0 | 0 | 0 | 0
| Contactor Panel-Complete Assemblies |  | New
12 | 3AXD50000104758 | ASSEMBLY KIT,HCSA-1-2,KTK-15A | New | [37 empty] | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | [21 empty] | 0 | NR | 0 | 0 | 0 | 0
12 | 3AXD50000046111 | ASSEMBLY KIT,HCSA-2-1,KTK-30A | New | [41 empty] | 1 | 1 | [9 empty] | 1 | 1 | [19 empty] | 0 | NR | 0 | 0 | 0 | 0
12 | 3AXD50000046722 | ASSEMBLY KIT,HCSA-3-1,31-60A Block | New | [43 empty] | 1 | [10 empty] | 1 | 1 | 1 | [9 empty] | 1 | 1 | 1 | 1 |  |  |  | 0 | NR | 0 | 0 | 0 | 0
12 | 3AXD50000218653 | ASSEMBLY KIT,HCSA-4-1 | New | [44 empty] | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | [10 empty] | 1 | 1 |  | 0 | NR | 0 | 0 | 0 | 0
12 | 3AXD50000102426 | ASSEMBLY KIT,HCSA-2-2,KTK-30A | New | [60 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 0 | NR | 0 | 0 | 0 | 0
| Disconnect Switch |  | New
9 | 3AXD50000049831 | DISCONNECT SWITCH, OT30F3, 30A, 600V, 3P | New | [37 empty] | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000049832 | DISCONNECT SWITCH, OT60F3, 60A, 600V, 3P | New | [43 empty] | 1 | [11 empty] | 1 | 1 | [16 empty] | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AUA0000049777 | DISCONNECT SWITCH, OT100F, 100A,600V, 3P, | New | [44 empty] | 1 | 1 | [11 empty] | 1 | 1 | [10 empty] | 1 | 1 |  |  | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000283866 | DISCONNECT, 600V, 125A, 42kA, XT2V-D | New | [71 empty] | 1 |  | 0 | 3 | 0 | 0 | 0 | 0
9 | 3AXD50000139828 | CIRCUIT BREAKER ASSEMBLY KIT,XT2D 125A FIXED 3P 100KA | New | [46 empty] | 1 | [12 empty] | 1 | [13 empty] | 0 | 3 | 0 | 0 | 0 | 0
| Fuse |  | New
1 | 3AUA0000015604 | FUSE, 15A, 600V, CLASS CC, REJ KTK-R-15 | New | [37 empty] | 3 | 3 | 3 | 3 | [6 empty] | 3 | 3 | 3 | 3 | 3 | [21 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000015605 | FUSE, 30A, 600V, CLASS CC, REJ KTK-R-30 | New | [41 empty] | 3 | 3 | [9 empty] | 3 | 3 | [6 empty] | 3 | 3 | 3 | 3 | 3 | 3 | [7 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000147985 | FUSE,40A,600VAC(T),VFAST ACTING, JJS-40 | New | [43 empty] | 3 | [10 empty] | 3 | [11 empty] | 3 | 3 | 3 |  |  |  |  | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000147986 | FUSE,50A,600VAC(T),VFAST ACTING, JJS-50 | New | [69 empty] | 3 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000015606 | FUSE, 60A, 600V, CLASS T, REJECTION, JJS-60 | New | [55 empty] | 3 | 3 | [16 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | BG56720003-15 | FUSE,80A,600V,Class T, JJS-80 | New | [44 empty] | 3 | 3 | [11 empty] | 3 | [12 empty] | 3 | 3 |  | 0 | 1 | 0 | 0 | 0 | 0
1 | BG56720003-16 | FUSE,90A,600V,JJS-90 | New | [58 empty] | 3 | [14 empty] | 0 | 1 | 0 | 0 | 0 | 0
1 | 3AUA0000015607 | FUSE, 100A, 600V, CLASS T, REJ JJS-100 | New | [46 empty] | 3 | [12 empty] | 3 | [13 empty] | 0 | 1 | 0 | 0 | 0 | 0
| Handle |  | New
11 | OHB65J6 | HANDLE,OHB65J6 | New | [37 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 0 | NR | 0 | 0 | 0 | 0
11 | 68577586 | HANDLE,OHB65J10 | New | [46 empty] | 1 | [12 empty] | 1 | [11 empty] | 1 |  | 0 | NR | 0 | 0 | 0 | 0
| Shaft |  | New
11 | 3AUA0000049885 | SHAFT, STEEL, 6MM X 6MM X 168MM | New | [37 empty] | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 | 1 | 1 | 1 | 1 | [21 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AUA0000049888 | SHAFT, STEEL, 6MM X 6MM X 175MM | New | [42 empty] | 1 | [9 empty] | 1 | 1 |  |  |  | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 |  |  | 0 | NR | 0 | 0 | 0 | 0
11 | 3AXD50000129980 | SHAFT, STEEL, 6MM X 6MM x 146MM | New | [43 empty] | 1 | 1 | 1 | [8 empty] | 1 | 1 | 1 | [9 empty] | 1 | 1 | [5 empty] | 0 | NR | 0 | 0 | 0 | 0
11 | 3AXD50000110698 | SHAFT, STEEL, 10MM X 10MM X 84MM | New | [46 empty] | 1 | [12 empty] | 1 | [11 empty] | 1 |  | 0 | NR | 0 | 0 | 0 | 0
| Service Switch | Only used on units with F267 plus code | New
7 | 3AXD50000049831 | DISCONNECT SWITCH OT30F3, 30A, 600V, 3P (+F267) | New | [37 empty] | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AXD50000049832 | DISCONNECT SWITCH OT60F3, 60A, 600V, 3P (+F267) | New | [43 empty] | 1 | 1 | [9 empty] | 1 | 1 | 1 | 1 | [9 empty] | 1 | 1 | 1 | 1 |  |  | 0 | PCS | 0 | 0 | 0 | 0
7 | 3AUA0000049777 | DISCONNECT SWITCH, OT100F3, 100A,600V, 3P (+F267) | New | [45 empty] | 1 | 1 | [11 empty] | 1 | 1 | [11 empty] | 1 |  | 0 | PCS | 0 | 0 | 0 | 0
| Notes: | [79 empty] | Total: | 0
1) ABB Standard Terms and Conditions Apply
Note on CA5: Select General Sparing Level: 1 = Basic 2 = Moderate 3 = Comprehensive Notes: NR = Not considered a Recommend Spares. You will need to adjust the quantity in the "Requested Quantity" column if this part is needed. PCS = Plus Code Spare. These items are only used on units with certain plus codes. You will need to adjust the quantity in the "Requested Quantity" column if this part is needed.
Note on CC5: Scan down the "Requested Quantity" column, changing quantities as you see fit. If you see items you need and it has a sparing level identified as NR or PCS, you will need to adjust the requested quantities for these.
If you have any questions, please contact Technical Support at 1-800-752-0696 opt. 1, opt. 1 or US-drivessupport@abb.com

## Quote Information
Basic Project Information
Proposal offered by {You}: | Dave Schneider
Proposal offered by {Company}: | ABB Inc.
Proposal offered by {Department}: | Drive Services
Proposal Date: | 2026-07-29
Client Project Reference No.:
Project Description: | ACH550-VDR Recommended Spares
Proposal Type: | 0
Client Company:
Client Location (City):
Client Location (ST):
Note on B2: If this default is wrong, change MSExcel Tools -> Options -> General -> User Name
Generate Proposal Worksheet

## Recommendation Criteria (hidden)
Recommendation Criteria:
Sparing Category Description | Sparing Category Number | Default Quantity | per System Quantity | Minimum Quantity | Sparing Level
Fuses | 1 | 3 | 6 | 6 | 1
Circuit Boards, Modules | 2 | 1 | 10 | 1 | 2
Semiconductors | 3 | 1 | 6 | 3 | 3
Electrolytic Bus Capacitors | 4 | 1 | 10 | 1 | 3
Fans | 5 | 1 | 10 | 1 | 1
Electrical Components | 6 | 1 | 10 | 1 | 2
Fiber Optics | 7 | 0 | 10 | 1 | PCS
Small Contactors, Relays, Terminal Strips | 8 | 1 | 10 | 1 | 2
Large Switches and Contactors | 9 | 1 | 10 | 1 | 3
Inductors, transformers | 10 | 1 | 20 | 1 | 3
Mechanical hardware | 11 | 0 | 20 | 0 | NR
Options/Special/Custom | 12 | 0 | 10 | 0 | NR